## All Points
M1 | M103 | M160 | M203 | M802 | M64061 | VSN300_Only | VSN700_Only | ABB_Proprietary | REST Name (VSN700) | REST Name (VSN300) | SunSpec Normalized Name | HA Name | In /livedata | In /feeds | Label | Description | HA Display Name | Category | Units | HA Unit of Measurement | State Class | HA State Class | Device Class | HA Device Class | Entity Category | Available in Modbus | Data Source | Model_Notes
NO | YES | NO | NO | YES | NO | NO | NO | NO | Igrid | m103_1_A | A | amps | ✓ |  | Amps | AC Current | AC Current | Inverter | A | A | measurement | measurement | current | current |  | YES | SunSpec Description (M103)
NO | NO | NO | NO | YES | NO | NO | NO | NO | PCh | N/A | AChaMax | max_charge_current | ✓ |  | Max Charge Current | Instantaneous maximum DC charge current. | Instantaneous maximum DC charge current. | Battery | A | A | measurement | measurement | current | current |  | YES | SunSpec Description (M802)
NO | NO | NO | NO | YES | NO | NO | NO | NO | PDh | N/A | ADisChaMax | max_discharge_current | ✓ |  | Max Discharge Current | Instantaneous maximum DC discharge current. | Instantaneous maximum DC discharge current. | Battery | A | A | measurement | measurement | current | current |  | YES | SunSpec Description (M802)
NO | NO | NO | NO | YES | NO | NO | NO | NO | Fcc | N/A | AHRtg | nameplate_charge_capacity | ✓ |  | Nameplate Charge Capacity | Nameplate charge capacity in amp-hours. | Nameplate charge capacity in amp-hours. | Battery | Ah | Ah | [5 empty] | YES | SunSpec Description (M802)
NO | NO | NO | NO | NO | YES | NO | NO | NO | N/A | m64061_1_AlarmSt | AlarmSt | alarm_state | ✓ |  | Alarm State | Alarm State | Alarm State | Diagnostic | A | A | measurement | measurement | current | current |  | NO | SunSpec Label (M64061)
NO | NO | NO | NO | NO | YES | NO | NO | NO | AlarmState | N/A | AlarmState | alarm_state | ✓ |  | Alarm State | Current alarm status of the inverter | Current alarm status of the inverter | Status |  |  | measurement | measurement |  |  |  | MAYBE | Enhanced from point name
NO | YES | NO | YES | NO | NO | NO | NO | NO | MeterIgrid_L1 | N/A | AphA | amps_phasea | ✓ |  | Amps PhaseA | Phase A Current | Phase A Current | Meter | A | A | measurement | measurement | current | current |  | YES | SunSpec Description (M203)
NO | YES | NO | YES | NO | NO | NO | NO | NO | MeterIgrid_L2 | N/A | AphB | amps_phaseb | ✓ |  | Amps PhaseB | Phase B Current | Phase B Current | Meter | A | A | measurement | measurement | current | current |  | YES | SunSpec Description (M203)
NO | YES | NO | YES | NO | NO | NO | NO | NO | MeterIgrid_L3 | N/A | AphC | amps_phasec | ✓ |  | Amps PhaseC | Phase C Current | Phase C Current | Meter | A | A | measurement | measurement | current | current |  | YES | SunSpec Description (M203)
NO | NO | NO | NO | NO | NO | NO | NO | YES | BattExtCtrlEna | N/A | BattExtCtrlEna | batt_ext_ctrl_ena | ✓ |  | Batt Ext Ctrl Ena | Batt Ext Ctrl Ena control setting | Batt Ext Ctrl Ena control setting | Battery Ext |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | NO | NO | NO | YES | BattExtCtrlState | N/A | BattExtCtrlState | batt_ext_ctrl_state | ✓ |  | Batt Ext Ctrl State | Batt Ext Ctrl State control setting | Batt Ext Ctrl State control setting | Battery Ext |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | NO | NO | NO | YES | BattNum | N/A | BattNum | batt_num | ✓ |  | Batt Num | Number of battery modules in the system | Number of battery modules in the system | Battery Ext |  |  | measurement | measurement |  |  |  | NO | SunSpec Label (ABB Proprietary)
NO | NO | NO | NO | NO | NO | NO | NO | YES | BatteryMode | N/A | BatteryMode | battery_mode | ✓ |  | Battery Mode | Battery operating mode | Battery operating mode | Battery Ext |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | YES | NO | NO | NO | N/A | m64061_1_Booster_Tmp | Booster_Tmp | boost_converter_temperature | ✓ | ✓ | Boost Converter Temperature | Booster stage temperature | Booster stage temperature | Diagnostic | °C | °C | measurement | measurement | temperature | temperature |  | NO | VSN300 Feeds
NO | NO | NO | NO | YES | NO | NO | NO | NO | TcMax | N/A | CellTmpMax | tc_max | ✓ |  | Tc Max | Maximum cell temperature in battery pack | Maximum cell temperature in battery pack | Battery | °C | °C | measurement | measurement | temperature | temperature |  | YES | SunSpec Label (M802)
NO | NO | NO | NO | YES | NO | NO | NO | NO | TcMin | N/A | CellTmpMin | tc_min | ✓ |  | Tc Min | Minimum cell temperature in battery pack | Minimum cell temperature in battery pack | Battery | °C | °C | measurement | measurement | temperature | temperature |  | YES | SunSpec Label (M802)
NO | NO | NO | NO | YES | NO | NO | NO | NO | VcMax | N/A | CellVMax | max_cell_voltage | ✓ |  | Max Cell Voltage | Maximum voltage for all cells in the bank. | Maximum voltage for all cells in the bank. | Battery | V | V | measurement | measurement | voltage | voltage |  | YES | SunSpec Description (M802)
NO | NO | NO | NO | YES | NO | NO | NO | NO | VcMin | N/A | CellVMin | min_cell_voltage | ✓ |  | Min Cell Voltage | Minimum voltage for all cells in the bank. | Minimum voltage for all cells in the bank. | Battery | V | V | measurement | measurement | voltage | voltage |  | YES | SunSpec Description (M802)
NO | NO | NO | NO | NO | NO | NO | NO | NO | TSoc | N/A | ChaState | chastate | ✓ |  | ChaState | Currently available energy as a percent of the capacity rating. | Currently available energy as a percent of the capacity rating. | Battery | % | % | measurement | measurement | battery | battery |  | YES | SunSpec Description (M124)
NO | NO | NO | NO | NO | NO | NO | NO | YES | Chc | N/A | Chc | charge_capacity | ✓ |  | Charge Capacity | Battery charge cycle count | Battery charge cycle count | Battery Ext | Ah | Ah | measurement | measurement |  |  |  | NO | SunSpec Label (ABB Proprietary)
NO | NO | NO | NO | NO | NO | NO | NO | YES | ClockState | N/A | ClockState | clock_state | ✓ |  | Clock State | Clock State | Clock State | Other |  |  | measurement | measurement |  |  |  | NO | SunSpec Label (ABB Proprietary)
NO | NO | NO | NO | NO | NO | NO | NO | YES | CommissioningFreeze | N/A | CommissioningFreeze | commissioning_freeze | ✓ |  | Commissioning Freeze | Commissioning Freeze | Commissioning Freeze | Other |  |  | measurement | measurement |  |  |  | NO | SunSpec Label (ABB Proprietary)
NO | NO | NO | NO | NO | YES | YES | NO | NO | CountryStd | N/A | CountryStd | country_std | ✓ |  | Country Std | Grid standard/country code | Grid standard/country code | Diagnostic |  |  | measurement | measurement |  |  |  | MAYBE | Enhanced from point name
YES | NO | NO | NO | NO | NO | NO | NO | NO | N/A | C_DA | DA | device_address | ✓ |  | Device Address | Device Modbus address | Device Modbus address | Device Info | A | A | measurement | measurement | current | current | diagnostic | YES | SunSpec Label (M1) - generic description
NO | NO | NO | NO | NO | YES | NO | NO | NO | DC1State | N/A | DC1State | dc_1_state | ✓ |  | DC 1 State | DC input 1 status | DC input 1 status | Status |  |  | measurement | measurement |  |  |  | MAYBE | Enhanced from point name
NO | NO | NO | NO | NO | YES | NO | NO | NO | DC2State | N/A | DC2State | dc_2_state | ✓ |  | DC 2 State | DC input 2 status | DC input 2 status | Status |  |  | measurement | measurement |  |  |  | MAYBE | Enhanced from point name
NO | NO | YES | NO | NO | NO | NO | NO | NO | Iin1 | m160_1_DCA_1 | DCA_1 | dc_current_1 | ✓ |  | DC Current #1 | DC current measurement for string 1 | DC current measurement for string 1 | MPPT | A | A | measurement | measurement | current | current |  | YES | SunSpec Label (M160)
NO | NO | YES | NO | NO | NO | NO | NO | NO | Iin2 | m160_1_DCA_2 | DCA_2 | dc_current_2 | ✓ |  | DC Current #2 | DC current measurement for string 2 | DC current measurement for string 2 | MPPT | A | A | measurement | measurement | current | current |  | YES | SunSpec Label (M160)
NO | NO | YES | NO | NO | NO | NO | NO | NO | Vin1 | m160_1_DCV_1 | DCV_1 | dc_voltage_1 | ✓ |  | DC Voltage #1 | DC voltage measurement for string 1 | DC voltage measurement for string 1 | MPPT | V | V | measurement | measurement | voltage | voltage |  | YES | SunSpec Label (M160)
NO | NO | YES | NO | NO | NO | NO | NO | NO | Vin2 | m160_1_DCV_2 | DCV_2 | dc_voltage_2 | ✓ |  | DC Voltage #2 | DC voltage measurement for string 2 | DC voltage measurement for string 2 | MPPT | V | V | measurement | measurement | voltage | voltage |  | YES | SunSpec Label (M160)
NO | YES | NO | NO | NO | NO | NO | NO | NO | Pin | m103_1_DCW | DCW | dc_watts | ✓ | ✓ | DC Watts | DC Power | DC Power | Inverter | W | W | measurement | measurement | power | power |  | YES | SunSpec Description (M103)
NO | NO | YES | NO | NO | NO | NO | NO | NO | Pin1 | m160_1_DCW_1 | DCW_1 | dc_power_1 | ✓ | ✓ | DC Power #1 | DC power output for string 1 | DC power output for string 1 | MPPT | W | W | measurement | measurement | power | power |  | YES | SunSpec Label (M160)
NO | NO | YES | NO | NO | NO | NO | NO | NO | Pin2 | m160_1_DCW_2 | DCW_2 | dc_power_2 | ✓ | ✓ | DC Power #2 | DC power output for string 2 | DC power output for string 2 | MPPT | W | W | measurement | measurement | power | power |  | YES | SunSpec Label (M160)
NO | NO | NO | NO | NO | NO | NO | NO | YES | DI0_mode | N/A | DI0_mode | di_0_mode | ✓ |  | Di 0 Mode | Di 0 Mode operating mode | Di 0 Mode operating mode | Control |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | NO | NO | NO | YES | DI1_mode | N/A | DI1_mode | di_1_mode | ✓ |  | Di 1 Mode | Di 1 Mode operating mode | Di 1 Mode operating mode | Control |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | NO | NO | NO | YES | DI_status | N/A | DI_status | status | ✓ |  | Status | Status | Status | Other |  |  | measurement | measurement |  |  |  | NO | SunSpec Label (ABB Proprietary)
NO | NO | NO | NO | NO | YES | NO | NO | NO | Energy today | m64061_1_DayWH | DayWH | daily_energy | ✓ | ✓ | Daily Energy | Daily Energy | Daily Energy | Diagnostic | kWh | kWh | total_increasing | total_increasing | energy | energy |  | NO | SunSpec Label (M64061)
NO | NO | NO | NO | NO | YES | NO | NO | NO | N/A | m64061_1_DcSt1 | DcSt1 | dc_input_1_state | ✓ |  | DC Input 1 State | DC Input 1 State | DC Input 1 State | Diagnostic |  |  | measurement | measurement |  |  |  | NO | SunSpec Label (M64061)
NO | NO | NO | NO | NO | YES | NO | NO | NO | N/A | m64061_1_DcSt2 | DcSt2 | dc_input_2_state | ✓ |  | DC Input 2 State | DC Input 2 State | DC Input 2 State | Diagnostic |  |  | measurement | measurement |  |  |  | NO | SunSpec Label (M64061)
NO | NO | NO | NO | NO | NO | NO | NO | YES | DetectedBatteryNumber | N/A | DetectedBatteryNumber | detected_battery_number | ✓ |  | Detected Battery Number | Number of detected battery modules | Number of detected battery modules | Other |  |  | measurement | measurement |  |  |  | NO | SunSpec Label (ABB Proprietary)
NO | NO | NO | NO | NO | NO | NO | NO | YES | Dhc | N/A | Dhc | discharge_capacity | ✓ |  | Discharge Capacity | Battery discharge cycle count | Battery discharge cycle count | Battery Ext | Ah | Ah | measurement | measurement |  |  |  | NO | SunSpec Label (ABB Proprietary)
NO | NO | NO | NO | NO | NO | NO | NO | YES | DynamicFeedInCtrl | N/A | DynamicFeedInCtrl | dynamic_feed_in_ctrl | ✓ |  | Dynamic Feed In Ctrl | Dynamic feed-in control status | Dynamic feed-in control status | Control |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | YES | YES | NO | NO | E0_1Y | N/A | E0_1Y | e0_energy_yearly | ✓ | ✓ | E0 Energy Yearly | E0 - Inverter Produced Energy - 1Y | E0 - Inverter Produced Energy - 1Y | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E0_30D | N/A | E0_30D | e0_energy_30_day | ✓ | ✓ | E0 Energy 30 Day | E0 - Inverter Produced Energy - 30D | E0 - Inverter Produced Energy - 30D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E0_7D | N/A | E0_7D | e0_energy_7_day | ✓ | ✓ | E0 Energy 7 Day | E0 - Inverter Produced Energy - 7D | E0 - Inverter Produced Energy - 7D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E0_runtime | N/A | E0_runtime | e0_energy_lifetime | ✓ | ✓ | E0 Energy Lifetime | E0 - Inverter Produced Energy - runtime | E0 - Inverter Produced Energy - runtime | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E15_30D | N/A | E15_30D | e15_energy_30_day | ✓ | ✓ | E15 Energy 30 Day | E15 - Inverter Backup Output Energy - 30D | E15 - Inverter Backup Output Energy - 30D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E15_7D | N/A | E15_7D | e15_energy_7_day | ✓ | ✓ | E15 Energy 7 Day | E15 - Inverter Backup Output Energy - 7D | E15 - Inverter Backup Output Energy - 7D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E15_runtime | N/A | E15_runtime | e15_energy_lifetime | ✓ | ✓ | E15 Energy Lifetime | E15 - Inverter Backup Output Energy - runtime | E15 - Inverter Backup Output Energy - runtime | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E1_30D | N/A | E1_30D | e1_energy_30_day | ✓ | ✓ | E1 Energy 30 Day | E1 - Inverter Absorbed AC Energy - 30D | E1 - Inverter Absorbed AC Energy - 30D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E1_7D | N/A | E1_7D | e1_energy_7_day | ✓ | ✓ | E1 Energy 7 Day | E1 - Inverter Absorbed AC Energy - 7D | E1 - Inverter Absorbed AC Energy - 7D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E1_runtime | N/A | E1_runtime | e1_energy_lifetime | ✓ | ✓ | E1 Energy Lifetime | E1 - Inverter Absorbed AC Energy - runtime | E1 - Inverter Absorbed AC Energy - runtime | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E2_30D | N/A | E2_30D | e2_energy_30_day | ✓ | ✓ | E2 Energy 30 Day | E2 - Inverter Apparent AC Energy - 30D | E2 - Inverter Apparent AC Energy - 30D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E2_7D | N/A | E2_7D | e2_energy_7_day | ✓ | ✓ | E2 Energy 7 Day | E2 - Inverter Apparent AC Energy - 7D | E2 - Inverter Apparent AC Energy - 7D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E2_runtime | N/A | E2_runtime | e2_energy_lifetime | ✓ | ✓ | E2 Energy Lifetime | E2 - Inverter Apparent AC Energy - runtime | E2 - Inverter Apparent AC Energy - runtime | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E3_30D | N/A | E3_30D | e3_energy_30_day | ✓ | ✓ | E3 Energy 30 Day | E3 - Energy to the Grid - 30D | E3 - Energy to the Grid - 30D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E3_7D | N/A | E3_7D | e3_energy_7_day | ✓ | ✓ | E3 Energy 7 Day | E3 - Energy to the Grid - 7D | E3 - Energy to the Grid - 7D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E3_runtime | N/A | E3_runtime | e3_energy_lifetime | ✓ | ✓ | E3 Energy Lifetime | E3 - Energy to the Grid - runtime | E3 - Energy to the Grid - runtime | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | NO | NO | NO | E4_30D | N/A | E4_30D | e4_energy_30_day | ✓ |  | E4 Energy 30 Day | Energy counter 4 accumulated over 30 days | Energy counter 4 accumulated over 30 days | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | SunSpec Label (M64061)
NO | NO | NO | NO | NO | YES | NO | NO | NO | E4_7D | N/A | E4_7D | e4_energy_7_day | ✓ |  | E4 Energy 7 Day | Energy counter 4 accumulated over 7 days | Energy counter 4 accumulated over 7 days | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | SunSpec Label (M64061)
NO | NO | NO | NO | NO | YES | NO | NO | NO | E4_runtime | N/A | E4_runtime | e4_energy_lifetime | ✓ |  | E4 Energy Lifetime | Energy counter 4 lifetime total | Energy counter 4 lifetime total | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | SunSpec Label (M64061)
NO | NO | NO | NO | NO | YES | NO | NO | NO | E5_30D | N/A | E5_30D | e5_energy_30_day | ✓ |  | E5 Energy 30 Day | Energy counter 5 accumulated over 30 days | Energy counter 5 accumulated over 30 days | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | SunSpec Label (M64061)
NO | NO | NO | NO | NO | YES | NO | NO | NO | E5_7D | N/A | E5_7D | e5_energy_7_day | ✓ |  | E5 Energy 7 Day | Energy counter 5 accumulated over 7 days | Energy counter 5 accumulated over 7 days | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | SunSpec Label (M64061)
NO | NO | NO | NO | NO | YES | NO | NO | NO | E5_runtime | N/A | E5_runtime | e5_energy_lifetime | ✓ |  | E5 Energy Lifetime | Energy counter 5 lifetime total | Energy counter 5 lifetime total | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | SunSpec Label (M64061)
NO | NO | NO | NO | NO | YES | YES | NO | NO | E6_30D | N/A | E6_30D | e6_energy_30_day | ✓ | ✓ | E6 Energy 30 Day | E6 - Consumed Energy from Inverter - 30D | E6 - Consumed Energy from Inverter - 30D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E6_7D | N/A | E6_7D | e6_energy_7_day | ✓ | ✓ | E6 Energy 7 Day | E6 - Consumed Energy from Inverter - 7D | E6 - Consumed Energy from Inverter - 7D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E6_runtime | N/A | E6_runtime | e6_energy_lifetime | ✓ | ✓ | E6 Energy Lifetime | E6 - Consumed Energy from Inverter - runtime | E6 - Consumed Energy from Inverter - runtime | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | NO | YES | YES | NO | N/A | E6_total | E6_total | e_6_total |  | ✓ | E 6 Total | E6 - Consumed Energy from Inverter - Total | E6 - Consumed Energy from Inverter - Total | System Monitoring | Wh | Wh | total_increasing | total_increasing | energy | energy |  | NO | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E7_30D | N/A | E7_30D | e7_energy_30_day | ✓ | ✓ | E7 Energy 30 Day | E7 - Consumed Energy - 30D | E7 - Consumed Energy - 30D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E7_7D | N/A | E7_7D | e7_energy_7_day | ✓ | ✓ | E7 Energy 7 Day | E7 - Consumed Energy - 7D | E7 - Consumed Energy - 7D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E7_runtime | N/A | E7_runtime | e7_energy_lifetime | ✓ | ✓ | E7 Energy Lifetime | E7 - Consumed Energy - runtime | E7 - Consumed Energy - runtime | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | NO | YES | YES | NO | N/A | E7_total | E7_total | e_7_total |  | ✓ | E 7 Total | E7 - Consumed Energy - Total | E7 - Consumed Energy - Total | System Monitoring | Wh | Wh | total_increasing | total_increasing | energy | energy |  | NO | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E8_30D | N/A | E8_30D | e8_energy_30_day | ✓ | ✓ | E8 Energy 30 Day | E8 - Energy from the Grid - 30D | E8 - Energy from the Grid - 30D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E8_7D | N/A | E8_7D | e8_energy_7_day | ✓ | ✓ | E8 Energy 7 Day | E8 - Energy from the Grid - 7D | E8 - Energy from the Grid - 7D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | E8_runtime | N/A | E8_runtime | e8_energy_lifetime | ✓ | ✓ | E8 Energy Lifetime | E8 - Energy from the Grid - runtime | E8 - Energy from the Grid - runtime | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | NO | NO | NO | YES | EBackup | N/A | EBackup | e_backup | ✓ |  | E Backup | Energy provided in backup mode | Energy provided in backup mode | Energy Counter | Wh | Wh | total_increasing | total_increasing | energy | energy |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | NO | NO | NO | YES | ECharge | N/A | ECharge | e_charge | ✓ |  | E Charge | Total battery charging energy | Total battery charging energy | Energy Counter | Wh | Wh | total_increasing | total_increasing | energy | energy |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | YES | YES | NO | NO | ECharge_30D | N/A | ECharge_30D | echarge_energy_30_day | ✓ | ✓ | ECharge Energy 30 Day | Battery Charge Energy - 30D | Battery Charge Energy - 30D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | Both Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | ECharge_7D | N/A | ECharge_7D | echarge_energy_7_day | ✓ | ✓ | ECharge Energy 7 Day | Battery Charge Energy - 7D | Battery Charge Energy - 7D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | Both Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | ECharge_runtime | N/A | ECharge_runtime | echarge_energy_lifetime | ✓ | ✓ | ECharge Energy Lifetime | Battery Charge Energy - runtime | Battery Charge Energy - runtime | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | Both Feeds
NO | NO | NO | NO | NO | NO | NO | NO | YES | ECt | N/A | ECt | e_ct | ✓ |  | E Ct | Total energy charged to battery since installation | Total energy charged to battery since installation | Energy Counter | Wh | Wh | total_increasing | total_increasing | energy | energy |  | NO | SunSpec Label (ABB Proprietary)
NO | NO | NO | NO | NO | NO | NO | NO | YES | EDischarge | N/A | EDischarge | e_discharge | ✓ |  | E Discharge | Total battery discharging energy | Total battery discharging energy | Energy Counter | Wh | Wh | total_increasing | total_increasing | energy | energy |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | YES | YES | NO | NO | EDischarge_30D | N/A | EDischarge_30D | edischarge_energy_30_day | ✓ | ✓ | EDischarge Energy 30 Day | Battery Discharge Energy - 30D | Battery Discharge Energy - 30D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | Both Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | EDischarge_7D | N/A | EDischarge_7D | edischarge_energy_7_day | ✓ | ✓ | EDischarge Energy 7 Day | Battery Discharge Energy - 7D | Battery Discharge Energy - 7D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | Both Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | EDischarge_runtime | N/A | EDischarge_runtime | edischarge_energy_lifetime | ✓ | ✓ | EDischarge Energy Lifetime | Battery Discharge Energy - runtime | Battery Discharge Energy - runtime | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | Both Feeds
NO | NO | NO | NO | NO | NO | NO | NO | YES | EDt | N/A | EDt | e_dt | ✓ |  | E Dt | Total energy discharged from battery since installation | Total energy discharged from battery since installation | Energy Counter | Wh | Wh | total_increasing | total_increasing | energy | energy |  | NO | SunSpec Label (ABB Proprietary)
NO | NO | NO | NO | NO | NO | YES | NO | NO | N/A | EGridExport | EGridExport | total_watt_hours_exported |  | ✓ | Total Watt-hours Exported | Total Real Energy Exported | Total Real Energy Exported | System Monitoring | Wh | Wh | total_increasing | total_increasing | energy | energy |  | NO | Cross-ref from VSN700 (M203) - SunSpec Description (M203)
NO | NO | NO | NO | NO | NO | YES | NO | NO | N/A | EGridImport | EGridImport | total_watt_hours_imported |  | ✓ | Total Watt-hours Imported | Total Real Energy Imported | Total Real Energy Imported | System Monitoring | Wh | Wh | total_increasing | total_increasing | energy | energy |  | NO | Cross-ref from VSN700 (M203) - SunSpec Description (M203)
NO | NO | NO | NO | NO | NO | YES | YES | NO | N/A | ETotCharge | ETotCharge | e_tot_charge |  | ✓ | E Tot Charge | Total Battery Charge Energy - Total | Total Battery Charge Energy - Total | Battery | Wh | Wh | total_increasing | total_increasing | energy | energy |  | NO | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | ETotCharge_30D | N/A | ETotCharge_30D | etotcharge_energy_30_day | ✓ | ✓ | ETotCharge Energy 30 Day | Total Battery Charge Energy - 30D | Total Battery Charge Energy - 30D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | ETotCharge_7D | N/A | ETotCharge_7D | etotcharge_energy_7_day | ✓ | ✓ | ETotCharge Energy 7 Day | Total Battery Charge Energy - 7D | Total Battery Charge Energy - 7D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | ETotCharge_runtime | N/A | ETotCharge_runtime | etotcharge_energy_lifetime | ✓ | ✓ | ETotCharge Energy Lifetime | Total Battery Charge Energy - runtime | Total Battery Charge Energy - runtime | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | NO | YES | YES | NO | N/A | ETotDischarge | ETotDischarge | e_tot_discharge |  | ✓ | E Tot Discharge | Total Battery Discharge Energy - Total | Total Battery Discharge Energy - Total | Battery | Wh | Wh | total_increasing | total_increasing | energy | energy |  | NO | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | ETotDischarge_30D | N/A | ETotDischarge_30D | etotdischarge_energy_30_day | ✓ | ✓ | ETotDischarge Energy 30 Day | Total Battery Discharge Energy - 30D | Total Battery Discharge Energy - 30D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | ETotDischarge_7D | N/A | ETotDischarge_7D | etotdischarge_energy_7_day | ✓ | ✓ | ETotDischarge Energy 7 Day | Total Battery Discharge Energy - 7D | Total Battery Discharge Energy - 7D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | ETotDischarge_runtime | N/A | ETotDischarge_runtime | etotdischarge_energy_lifetime | ✓ | ✓ | ETotDischarge Energy Lifetime | Total Battery Discharge Energy - runtime | Total Battery Discharge Energy - runtime | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | NO | YES | NO | NO | N/A | ETotal | ETotal | watthours |  | ✓ | WattHours | AC Energy | AC Energy | System Monitoring | Wh | Wh | total_increasing | total_increasing | energy | energy |  | NO | Cross-ref from VSN700 (M103) - SunSpec Description (M103)
NO | NO | NO | NO | NO | NO | NO | NO | YES | ETotalAbsorbed | N/A | ETotalAbsorbed | e_total_absorbed | ✓ |  | E Total Absorbed | E Total Absorbed | E Total Absorbed | Energy Counter | Wh | Wh | total_increasing | total_increasing | energy | energy |  | NO | SunSpec Label (ABB Proprietary)
NO | NO | NO | NO | NO | NO | NO | NO | YES | ETotalApparent | N/A | ETotalApparent | e_total_apparent | ✓ |  | E Total Apparent | E Total Apparent | E Total Apparent | Energy Counter | Wh | Wh | total_increasing | total_increasing | energy | energy |  | NO | SunSpec Label (ABB Proprietary)
NO | NO | NO | NO | NO | NO | YES | NO | NO | Ein | N/A | Ein | input_energy | ✓ | ✓ | Input Energy | Ein - Inverter PV Energy - Total | Ein - Inverter PV Energy - Total | Inverter | Wh | Wh | total_increasing | total_increasing | energy | energy |  | NO | VSN700 Feeds
NO | NO | NO | NO | NO | NO | NO | NO | YES | Ein1 | N/A | Ein1 | ein_1 | ✓ |  | Ein 1 | Ein 1 | Ein 1 | Energy Counter | Wh | Wh | total_increasing | total_increasing | energy | energy |  | NO | SunSpec Label (ABB Proprietary)
NO | NO | NO | NO | NO | NO | NO | NO | YES | Ein2 | N/A | Ein2 | ein_2 | ✓ |  | Ein 2 | Ein 2 | Ein 2 | Energy Counter | Wh | Wh | total_increasing | total_increasing | energy | energy |  | NO | SunSpec Label (ABB Proprietary)
NO | NO | NO | NO | NO | YES | YES | NO | NO | Ein_30D | N/A | Ein_30D | ein_energy_30_day | ✓ | ✓ | Ein Energy 30 Day | Ein - Inverter PV Energy - 30D | Ein - Inverter PV Energy - 30D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | Ein_7D | N/A | Ein_7D | ein_energy_7_day | ✓ | ✓ | Ein Energy 7 Day | Ein - Inverter PV Energy - 7D | Ein - Inverter PV Energy - 7D | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | YES | YES | NO | NO | Ein_runtime | N/A | Ein_runtime | ein_energy_lifetime | ✓ | ✓ | Ein Energy Lifetime | Ein - Inverter PV Energy - runtime | Ein - Inverter PV Energy - runtime | Energy Counter | Wh | Wh | total | total | energy | energy |  | MAYBE | VSN700 Feeds
NO | NO | NO | NO | NO | NO | NO | NO | YES | EnergyPolicy | N/A | EnergyPolicy | energy_policy | ✓ |  | Energy Policy | Energy management policy setting | Energy management policy setting | Battery Ext |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | NO | NO | NO | YES | FRT_state | N/A | FRT_state | state | ✓ |  | State | State | State | Other |  |  | measurement | measurement |  |  |  | NO | SunSpec Label (ABB Proprietary)
NO | NO | NO | NO | NO | NO | NO | NO | YES | Fan1rpm | N/A | Fan1rpm | fan_1_rpm | ✓ |  | Fan 1 RPM | Cooling fan 1 rotation speed | Cooling fan 1 rotation speed | System Info |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | NO | NO | NO | YES | Fan2rpm | N/A | Fan2rpm | fan_2_rpm | ✓ |  | Fan 2 RPM | Cooling fan 2 rotation speed | Cooling fan 2 rotation speed | System Info |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | YES | NO | NO | NO | GlobState | N/A | GlobState | glob_state | ✓ |  | Glob State | Global operating state | Global operating state | Status |  |  | measurement | measurement |  |  |  | MAYBE | Enhanced from point name
NO | NO | NO | NO | NO | YES | NO | NO | NO | N/A | m64061_1_GlobalSt | GlobalSt | global_state | ✓ |  | Global State | Global State | Global State | Diagnostic |  |  | measurement | measurement |  |  |  | NO | SunSpec Label (M64061)
NO | NO | NO | NO | NO | NO | NO | NO | YES | HouseIgrid_L1 | N/A | HouseIgrid_L1 | house_current_grid_l_1 | ✓ |  | House Current Grid L 1 | Household current consumption from grid | Household current consumption from grid | House Meter | A | A | measurement | measurement | current | current |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | NO | NO | NO | YES | HouseIgrid_L2 | N/A | HouseIgrid_L2 | house_current_grid_l_2 | ✓ |  | House Current Grid L 2 | Household current consumption from grid | Household current consumption from grid | House Meter | A | A | measurement | measurement | current | current |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | NO | NO | NO | YES | HouseIgrid_L3 | N/A | HouseIgrid_L3 | house_current_grid_l_3 | ✓ |  | House Current Grid L 3 | Household current consumption from grid | Household current consumption from grid | House Meter | A | A | measurement | measurement | current | current |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | NO | YES | NO | YES | HousePInverter | N/A | HousePInverter | house_p_inverter | ✓ | ✓ | House P Inverter | Home PV Power | Home PV Power | House Meter | W | W | measurement | measurement | power | power |  | NO | VSN700 Feeds
NO | NO | NO | NO | NO | NO | NO | NO | YES | HousePgrid_L1 | N/A | HousePgrid_L1 | house_power_grid_l_1 | ✓ |  | House Power Grid L 1 | Household power consumption from grid | Household power consumption from grid | House Meter | W | W | measurement | measurement | power | power |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | NO | NO | NO | YES | HousePgrid_L2 | N/A | HousePgrid_L2 | house_power_grid_l_2 | ✓ |  | House Power Grid L 2 | Household power consumption from grid | Household power consumption from grid | House Meter | W | W | measurement | measurement | power | power |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | NO | NO | NO | YES | HousePgrid_L3 | N/A | HousePgrid_L3 | house_power_grid_l_3 | ✓ |  | House Power Grid L 3 | Household power consumption from grid | Household power consumption from grid | House Meter | W | W | measurement | measurement | power | power |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | NO | YES | NO | YES | HousePgrid_Tot | N/A | HousePgrid_Tot | house_power_grid_tot | ✓ | ✓ | House Power Grid Tot | Load Active Power - total | Load Active Power - total | House Meter | W | W | measurement | measurement | power | power |  | NO | VSN700 Feeds
NO | YES | NO | YES | NO | NO | NO | NO | NO | Fgrid | m103_1_Hz | Hz | hz | ✓ |  | Hz | Line Frequency | Line Frequency | Inverter | Hz | Hz | measurement | measurement | frequency | frequency |  | YES | SunSpec Description (M103)
NO | YES | NO | NO | NO | NO | NO | NO | NO | N/A | m103_1_HzA | HzA | frequency_phase_a | ✓ |  | Frequency Phase A | Frequency Phase A | Frequency Phase A | Inverter | A | A | measurement | measurement | current | current |  | YES | SunSpec Label (M103)
NO | YES | NO | NO | NO | NO | NO | NO | NO | N/A | m103_1_HzB | HzB | frequency_phase_b | ✓ |  | Frequency Phase B | Frequency Phase B | Frequency Phase B | Inverter | Hz | Hz | measurement | measurement | frequency | frequency |  | YES | SunSpec Label (M103)
NO | YES | NO | NO | NO | NO | NO | NO | NO | N/A | m103_1_HzC | HzC | frequency_phase_c | ✓ |  | Frequency Phase C | Frequency Phase C | Frequency Phase C | Inverter | Hz | Hz | measurement | measurement | frequency | frequency |  | YES | SunSpec Label (M103)
NO | NO | NO | NO | NO | YES | NO | NO | NO | Ileak 1 | m64061_1_ILeakDcAc | ILeakDcAc | leakage_current_dc_ac | ✓ | ✓ | Leakage Current DC-AC | Leakage Current DC-AC | Leakage Current DC-AC | Diagnostic | mA | mA | measurement | measurement | current | current |  | NO | SunSpec Label (M64061)
NO | NO | NO | NO | NO | YES | NO | NO | NO | Ileak 2 | m64061_1_ILeakDcDc | ILeakDcDc | leakage_current_dc_dc | ✓ | ✓ | Leakage Current DC-DC | Leakage Current DC-DC | Leakage Current DC-DC | Diagnostic | mA | mA | measurement | measurement | current | current |  | NO | SunSpec Label (M64061)
NO | NO | NO | NO | NO | YES | NO | NO | NO | IleakDC | N/A | IleakDC | ileak_dc | ✓ |  | Ileak DC | DC side leakage current | DC side leakage current | Isolation | A | A | measurement | measurement | current | current |  | MAYBE | Enhanced from point name
NO | NO | NO | NO | NO | YES | NO | NO | NO | IleakInv | N/A | IleakInv | ileak_inv | ✓ |  | Ileak Inv | Inverter leakage current | Inverter leakage current | Isolation | A | A | measurement | measurement | current | current |  | MAYBE | Enhanced from point name
NO | NO | NO | NO | NO | NO | NO | NO | NO | PbaT | N/A | InWRte | inwrte | ✓ | ✓ | InWRte | Percent of max charging rate. | Percent of max charging rate. | Battery | W | W | measurement | measurement | power | power |  | YES | SunSpec Description (M124)
NO | NO | NO | NO | NO | NO | NO | NO | YES | InputMode | N/A | InputMode | input_mode | ✓ |  | Input Mode | Input Mode | Input Mode | Control |  |  | measurement | measurement |  |  |  | NO | SunSpec Label (ABB Proprietary)
NO | NO | NO | NO | NO | YES | NO | NO | NO | InvState | N/A | InvState | inv_state | ✓ |  | Inv State | Inverter operating state | Inverter operating state | Status |  |  | measurement | measurement |  |  |  | MAYBE | Enhanced from point name
NO | NO | NO | NO | NO | YES | NO | NO | NO | N/A | m64061_1_InverterSt | InverterSt | inverter_state | ✓ |  | Inverter State | Inverter State | Inverter State | Diagnostic |  |  | measurement | measurement |  |  |  | NO | SunSpec Label (M64061)
NO | NO | NO | NO | NO | YES | NO | NO | NO | Riso | m64061_1_Isolation_Ohm1 | Isolation_Ohm1 | isolation_resistance | ✓ | ✓ | Isolation Resistance | Isolation Resistance | Isolation Resistance | Diagnostic | MOhm | MOhm | measurement | measurement |  |  |  | NO | SunSpec Label (M64061)
YES | NO | NO | NO | NO | NO | NO | NO | NO | N/A | C_Md | Md | model | ✓ |  | Model | Device model identifier from common model | Device model identifier from common model | Device Info |  |  | measurement | measurement |  |  | diagnostic | YES | SunSpec Label (M1) - generic description
NO | NO | NO | NO | NO | NO | YES | NO | NO | N/A | MeterPgrid_Tot | MeterPgrid_Tot | watts |  | ✓ | Watts | Total Real Power | Total Real Power | System Monitoring | W | W | measurement | measurement | power | power |  | NO | Cross-ref from VSN700 (M203) - SunSpec Description (M203)
YES | NO | NO | NO | NO | NO | NO | NO | NO | N/A | C_Mn | Mn | manufacturer | ✓ |  | Manufacturer | Manufacturer name from device common model | Manufacturer name from device common model | Device Info |  |  | measurement | measurement |  |  | diagnostic | YES | SunSpec Label (M1) - generic description
NO | NO | NO | NO | NO | YES | NO | NO | NO | N/A | m64061_1_MonthWH | MonthWH | monthly_energy | ✓ | ✓ | Monthly Energy | Energy current month | Energy current month | Diagnostic | kWh | kWh | total_increasing | total_increasing | energy | energy |  | NO | VSN300 Feeds
NO | NO | NO | NO | YES | NO | NO | NO | NO | CycleNum | N/A | NCyc | cycle_count | ✓ |  | Cycle Count | Number of cycles executed in the battery. | Number of cycles executed in the battery. | Battery |  |  | total | total |  |  |  | YES | SunSpec Description (M802)
NO | NO | NO | NO | NO | NO | NO | NO | YES | NumOfMPPT | N/A | NumOfMPPT | num_of_mppt | ✓ |  | Num Of MPPT | Number of MPPT channels | Number of MPPT channels | System Info |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name
YES | NO | NO | NO | NO | NO | NO | NO | NO | N/A | C_Opt | Opt | options | ✓ |  | Options | Device options and features from common model | Device options and features from common model | Device Info |  |  | measurement | measurement |  |  | diagnostic | YES | SunSpec Label (M1) - generic description
NO | NO | NO | NO | NO | NO | NO | NO | YES | PACDeratingFlags | N/A | PACDeratingFlags | pac_derating_flags | ✓ |  | Pac Derating Flags | Pac Derating Flags status flags | Pac Derating Flags status flags | Control |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name
NO | YES | NO | NO | NO | NO | NO | NO | NO | cosPhi | m103_1_PF | PF | pf | ✓ | ✓ | PF | AC Power Factor | AC Power Factor | Inverter | % | % | measurement | measurement | power_factor | power_factor |  | YES | SunSpec Description (M103)
NO | NO | NO | NO | NO | NO | NO | NO | YES | PacStandAlone | N/A | PacStandAlone | pac_stand_alone | ✓ |  | Pac Stand Alone | Pac Stand Alone | Pac Stand Alone | Hybrid | W | W | measurement | measurement | power | power |  | NO | SunSpec Label (ABB Proprietary)
NO | NO | NO | NO | NO | NO | NO | NO | YES | PacTogrid | N/A | PacTogrid | pac_togrid | ✓ |  | Pac Togrid | Pac Togrid | Pac Togrid | Hybrid | W | W | measurement | measurement | power | power |  | NO | SunSpec Label (ABB Proprietary)
NO | NO | NO | NO | NO | NO | YES | NO | NO | N/A | PbaT | PbaT | inwrte |  | ✓ | InWRte | Percent of max charging rate. | Percent of max charging rate. | System Monitoring | W | W | measurement | measurement | power | power |  | NO | Cross-ref from VSN700 (M124) - SunSpec Description (M124)
NO | NO | NO | NO | NO | NO | YES | NO | NO | N/A | Pgrid | Pgrid | watts |  | ✓ | Watts | AC Power | AC Power | System Monitoring | W | W | measurement | measurement | power | power |  | NO | Cross-ref from VSN700 (M103) - SunSpec Description (M103)
NO | YES | NO | YES | NO | NO | NO | NO | NO | Vgrid | m103_1_PhVphA | PhVphA | phase_voltage_an | ✓ |  | Phase Voltage AN | Phase A to neutral voltage measurement | Phase A to neutral voltage measurement | Inverter | V | V | measurement | measurement | voltage | voltage |  | YES | SunSpec Description (M103)
NO | YES | NO | NO | NO | NO | NO | NO | NO | VoutRS | m103_1_PhVphAB | PhVphAB | phase_voltage_ab | ✓ | ✓ | Phase Voltage AB | Phase Voltage AB | Phase Voltage AB | Inverter | V | V | measurement | measurement | voltage | voltage |  | YES | SunSpec Label (M103)
NO | YES | NO | YES | NO | NO | NO | NO | NO | VgridL2_N | N/A | PhVphB | phase_voltage_bn | ✓ |  | Phase Voltage BN | Phase B to neutral voltage measurement | Phase B to neutral voltage measurement | Inverter | V | V | measurement | measurement | voltage | voltage |  | YES | SunSpec Description (M101)
NO | YES | NO | NO | NO | NO | NO | NO | NO | VoutST | m103_1_PhVphBC | PhVphBC | phase_voltage_bc | ✓ | ✓ | Phase Voltage BC | Phase Voltage BC | Phase Voltage BC | Inverter | V | V | measurement | measurement | voltage | voltage |  | YES | SunSpec Label (M103)
NO | YES | NO | YES | NO | NO | NO | NO | NO | MeterVgrid_L3 | N/A | PhVphC | phase_voltage_cn | ✓ |  | Phase Voltage CN | Phase C to neutral voltage measurement | Phase C to neutral voltage measurement | Meter | V | V | measurement | measurement | voltage | voltage |  | YES | SunSpec Description (M203)
NO | YES | NO | NO | NO | NO | NO | NO | NO | VoutTR | m103_1_PhVphCA | PhVphCA | phase_voltage_ca | ✓ | ✓ | Phase Voltage CA | Phase Voltage CA | Phase Voltage CA | Inverter | V | V | measurement | measurement | voltage | voltage |  | YES | SunSpec Label (M103)
NO | NO | NO | NO | NO | NO | YES | NO | NO | N/A | Pin | Pin | dc_watts |  | ✓ | DC Watts | DC Power | DC Power | Inverter | W | W | measurement | measurement | power | power |  | NO | Cross-ref from VSN700 (M103) - SunSpec Description (M103)
NO | NO | NO | NO | NO | NO | YES | NO | NO | N/A | Pin1 | Pin1 | dc_power_1 |  | ✓ | DC Power #1 | DC Power #1 | DC Power #1 | Inverter | W | W | measurement | measurement | power | power |  | NO | Cross-ref from VSN700 (M160) - SunSpec Label (M160)
NO | NO | NO | NO | NO | NO | YES | NO | NO | N/A | Pin2 | Pin2 | dc_power_2 |  | ✓ | DC Power #2 | DC Power #2 | DC Power #2 | Inverter | W | W | measurement | measurement | power | power |  | NO | Cross-ref from VSN700 (M160) - SunSpec Label (M160)
NO | YES | NO | NO | NO | NO | NO | NO | NO | N/A | m103_1_PowerPeakAbs | PowerPeakAbs | peak_power_absolute | ✓ | ✓ | Peak Power (Absolute) | Absolute Pout peak | Absolute Pout peak | Inverter | kW | kW | measurement | measurement | power | power |  | YES | VSN300 Feeds
NO | YES | NO | NO | NO | NO | NO | NO | NO | N/A | m103_1_PowerPeakToday | PowerPeakToday | peak_power_today | ✓ | ✓ | Peak Power Today | Pout Peak of the day | Pout Peak of the day | Inverter | kW | kW | measurement | measurement | power | power |  | YES | VSN300 Feeds
NO | NO | NO | NO | NO | YES | NO | NO | NO | Ppeak | N/A | Ppeak | ppeak | ✓ |  | Ppeak | Peak power | Peak power | Diagnostic | W | W | measurement | measurement | power | power |  | MAYBE | Enhanced from point name
NO | NO | NO | NO | NO | NO | NO | NO | YES | QACDeratingFlags | N/A | QACDeratingFlags | qac_derating_flags | ✓ |  | Qac Derating Flags | Qac Derating Flags status flags | Qac Derating Flags status flags | Control |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | NO | YES | NO | NO | N/A | Qgrid | Qgrid | grid_reactive_power |  | ✓ | Grid Reactive Power | Grid Reactive Power | Grid Reactive Power | System Monitoring | VAR | VAR | measurement | measurement |  |  |  | NO | Cross-ref from VSN700 (M103) - SunSpec Label (M103)
NO | NO | NO | NO | NO | YES | NO | NO | NO | Riso | N/A | Riso | isolation_resistance | ✓ |  | Isolation Resistance | Isolation resistance | Isolation resistance | Isolation | Ω | Ω | measurement | measurement |  |  |  | MAYBE | Enhanced from point name
NO | NO | NO | NO | NO | NO | NO | NO | YES | SACDeratingFlags | N/A | SACDeratingFlags | sac_derating_flags | ✓ |  | Sac Derating Flags | Sac Derating Flags status flags | Sac Derating Flags status flags | Control |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name
YES | NO | NO | NO | NO | NO | NO | NO | NO | N/A | C_SN | SN | serial_number | ✓ |  | Serial Number | Device serial number from common model | Device serial number from common model | Device Info |  |  | measurement | measurement |  |  | diagnostic | YES | SunSpec Label (M1) - generic description
NO | NO | NO | NO | NO | NO | NO | NO | YES | ShU | N/A | ShU | shutdown | ✓ |  | Shutdown | Shutdown | Shutdown | Battery Ext |  |  | measurement | measurement |  |  |  | NO | SunSpec Label (ABB Proprietary)
NO | NO | NO | NO | YES | NO | NO | NO | NO | Soc | N/A | SoC | state_of_charge | ✓ |  | State of Charge | State of charge, expressed as a percentage. | State of charge, expressed as a percentage. | Battery | % | % | measurement | measurement | battery | battery |  | YES | SunSpec Description (M802)
NO | NO | NO | NO | YES | NO | NO | NO | NO | Soh | N/A | SoH | state_of_health | ✓ |  | State of Health | Percentage of battery life remaining. | Percentage of battery life remaining. | Battery | % | % | measurement | measurement |  |  |  | YES | SunSpec Description (M802)
NO | NO | NO | NO | NO | NO | NO | NO | NO | SplitPhase | N/A | SplitPhase | split_phase | ✓ |  | Split Phase | Split phase configuration indicator | Split phase configuration indicator | Inverter | [7 empty] | YES | SunSpec Label (M101)
NO | NO | NO | NO | NO | YES | NO | NO | NO | SysTime | m64061_1_SysTime | SysTime | sys_time | ✓ |  | Sys Time | System timestamp | System timestamp | Diagnostic |  |  | measurement | measurement |  |  |  | MAYBE | Enhanced from point name
NO | NO | NO | NO | NO | NO | YES | NO | NO | N/A | Temp1 | Temp1 | cabinet_temperature |  | ✓ | Cabinet Temperature | Cabinet Temperature | Cabinet Temperature | System Monitoring | °C | °C | measurement | measurement | temperature | temperature |  | NO | Cross-ref from VSN700 (M103) - SunSpec Description (M103)
NO | NO | NO | NO | NO | YES | NO | NO | NO | TempBst | N/A | TempBst | boost_temperature | ✓ |  | Boost Temperature | Boost converter temperature | Boost converter temperature | Diagnostic | °C | °C | measurement | measurement | temperature | temperature |  | MAYBE | Enhanced from point name
NO | NO | NO | NO | YES | NO | NO | NO | NO | Tba | N/A | Tmp | battery_temperature | ✓ |  | Battery Temperature | Battery pack temperature | Battery pack temperature | Battery | °C | °C | measurement | measurement | temperature | temperature |  | YES | SunSpec Label (M802)
NO | YES | NO | NO | NO | NO | NO | NO | NO | Temp1 | m103_1_TmpCab | TmpCab | cabinet_temperature | ✓ | ✓ | Cabinet Temperature | Cabinet Temperature | Cabinet Temperature | Inverter | °C | °C | measurement | measurement | temperature | temperature |  | YES | SunSpec Description (M103)
NO | YES | NO | NO | NO | NO | NO | NO | NO | TempInv | m103_1_TmpOt | TmpOt | other_temperature | ✓ |  | Other Temperature | Other Temperature | Other Temperature | Inverter | °C | °C | measurement | measurement | temperature | temperature |  | YES | SunSpec Description (M103)
NO | NO | NO | YES | NO | NO | NO | NO | NO | EGridExport | N/A | TotWhExp | total_watt_hours_exported | ✓ | ✓ | Total Watt-hours Exported | Total Real Energy Exported | Total Real Energy Exported | Meter | Wh | Wh | total_increasing | total_increasing | energy | energy |  | YES | SunSpec Description (M203)
NO | NO | NO | YES | NO | NO | NO | NO | NO | EGridImport | N/A | TotWhImp | total_watt_hours_imported | ✓ | ✓ | Total Watt-hours Imported | Total Real Energy Imported | Total Real Energy Imported | Meter | Wh | Wh | total_increasing | total_increasing | energy | energy |  | YES | SunSpec Description (M203)
NO | NO | NO | NO | YES | NO | NO | NO | NO | Vba | N/A | V | external_battery_voltage | ✓ |  | External Battery Voltage | DC Bus Voltage. | DC Bus Voltage. | Battery | V | V | measurement | measurement | voltage | voltage |  | YES | SunSpec Description (M802)
NO | YES | NO | YES | NO | NO | NO | NO | NO | Qgrid | N/A | VAR | grid_reactive_power | ✓ | ✓ | Grid Reactive Power | Grid Reactive Power | Grid Reactive Power | Inverter | var | var | measurement | measurement | reactive_power | reactive_power |  | YES | SunSpec Label (M103)
NO | NO | NO | YES | NO | NO | NO | NO | NO | MeterQgrid_L1 | N/A | VARphA | var_phase_a | ✓ |  | VAR phase A | Grid reactive power measured by meter | Grid reactive power measured by meter | Meter | var | var | measurement | measurement | reactive_power | reactive_power |  | YES | Enhanced from point name
NO | NO | NO | YES | NO | NO | NO | NO | NO | MeterQgrid_L2 | N/A | VARphB | var_phase_b | ✓ |  | VAR phase B | Grid reactive power measured by meter | Grid reactive power measured by meter | Meter | var | var | measurement | measurement | reactive_power | reactive_power |  | YES | Enhanced from point name
NO | NO | NO | YES | NO | NO | NO | NO | NO | MeterQgrid_L3 | N/A | VARphC | var_phase_c | ✓ |  | VAR phase C | Grid reactive power measured by meter | Grid reactive power measured by meter | Meter | var | var | measurement | measurement | reactive_power | reactive_power |  | YES | Enhanced from point name
NO | NO | NO | NO | NO | YES | NO | NO | NO | VBulk | m64061_1_VBulk | VBulk | v_bulk | ✓ |  | V Bulk | DC bulk capacitor voltage | DC bulk capacitor voltage | Isolation | V | V | measurement | measurement | voltage | voltage |  | MAYBE | Enhanced from point name
NO | NO | NO | NO | NO | YES | NO | NO | NO | VBulkMid | m64061_1_VBulkMid | VBulkMid | v_bulk_mid | ✓ |  | V Bulk Mid | DC bulk mid-point voltage | DC bulk mid-point voltage | Isolation | V | V | measurement | measurement | voltage | voltage |  | MAYBE | Enhanced from point name
NO | NO | NO | NO | NO | YES | NO | NO | NO | Vgnd | m64061_1_VGnd | Vgnd | vgnd | ✓ |  | Vgnd | Ground voltage | Ground voltage | Isolation | V | V | measurement | measurement | voltage | voltage |  | MAYBE | Enhanced from point name
YES | NO | NO | NO | NO | NO | NO | NO | NO | N/A | C_Vr | Vr | version | ✓ |  | Version | Firmware version from device common model | Firmware version from device common model | Device Info | V | V | measurement | measurement | voltage | voltage | diagnostic | YES | SunSpec Label (M1) - generic description
NO | YES | NO | YES | YES | NO | NO | NO | NO | Pgrid | m103_1_W | W | watts | ✓ | ✓ | Watts | AC Power | AC Power | Inverter | W | W | measurement | measurement | power | power |  | YES | SunSpec Description (M103)
NO | YES | NO | NO | NO | NO | NO | NO | NO | ETotal | m103_1_WH | WH | watthours | ✓ | ✓ | WattHours | AC Energy | AC Energy | Inverter | Wh | Wh | total_increasing | total_increasing | energy | energy |  | YES | SunSpec Description (M103)
NO | NO | NO | NO | NO | NO | NO | NO | NO | WRtg | N/A | WRtg | wrtg | ✓ |  | WRtg | Continuous power output capability of the inverter. | Continuous power output capability of the inverter. | Inverter | W | W |  |  | power | power |  | YES | SunSpec Description (M120)
NO | NO | NO | NO | NO | NO | NO | NO | YES | WarningFlags | N/A | WarningFlags | warning_flags | ✓ |  | Warning Flags | Warning Flags status flags | Warning Flags status flags | Control |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | YES | NO | NO | NO | N/A | m64061_1_WeekWH | WeekWH | weekly_energy | ✓ | ✓ | Weekly Energy | Energy current week | Energy current week | Diagnostic | kWh | kWh | total_increasing | total_increasing | energy | energy |  | NO | VSN300 Feeds
NO | NO | NO | YES | NO | NO | NO | NO | NO | MeterPgrid_L1 | N/A | WphA | watts_phase_a | ✓ |  | Watts phase A | Grid power measured by meter | Grid power measured by meter | Meter | W | W | measurement | measurement | power | power |  | YES | Enhanced from point name
NO | NO | NO | YES | NO | NO | NO | NO | NO | MeterPgrid_L2 | N/A | WphB | watts_phase_b | ✓ |  | Watts phase B | Grid power measured by meter | Grid power measured by meter | Meter | W | W | measurement | measurement | power | power |  | YES | Enhanced from point name
NO | NO | NO | YES | NO | NO | NO | NO | NO | MeterPgrid_L3 | N/A | WphC | watts_phase_c | ✓ |  | Watts phase C | Grid power measured by meter | Grid power measured by meter | Meter | W | W | measurement | measurement | power | power |  | YES | Enhanced from point name
NO | NO | NO | NO | NO | YES | NO | NO | NO | N/A | m64061_1_YearWH | YearWH | yearly_energy | ✓ | ✓ | Yearly Energy | Energy current year | Energy current year | Diagnostic | kWh | kWh | total_increasing | total_increasing | energy | energy |  | NO | VSN300 Feeds
NO | NO | NO | NO | NO | NO | YES | NO | NO | N/A | cosPhi | cosPhi | pf |  | ✓ | PF | AC Power Factor | AC Power Factor | System Monitoring |  |  | measurement | measurement |  |  |  | NO | Cross-ref from VSN700 (M103) - SunSpec Description (M103)
NO | NO | NO | NO | NO | NO | YES | YES | NO | N/A | flash_free | flash_free | flash_free | ✓ | ✓ | Flash Free | Flash Free | Flash Free | System Monitoring | B | B | measurement | measurement |  |  | diagnostic | NO | Both Feeds
NO | NO | NO | NO | NO | NO | YES | YES | NO | N/A | free_ram | free_ram | ram_free | ✓ | ✓ | RAM Free | Ram Free | Ram Free | System Monitoring | B | B | measurement | measurement |  |  | diagnostic | NO | Both Feeds
NO | NO | NO | NO | NO | NO | YES | YES | NO | N/A | fw_ver | fw_ver | fw_ver | ✓ | ✓ | Fw Ver | Version | Version | System Monitoring |  |  | measurement | measurement |  |  | diagnostic | NO | Both Feeds
NO | NO | NO | NO | NO | NO | NO | NO | YES | gridExtCtrlEna | N/A | gridExtCtrlEna | grid_ext_ctrl_ena | ✓ |  | Grid Ext Ctrl Ena | Grid Ext Ctrl Ena control setting | Grid Ext Ctrl Ena control setting | Control |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | NO | NO | NO | YES | gridExtCtrlState | N/A | gridExtCtrlState | grid_ext_ctrl_state | ✓ |  | Grid Ext Ctrl State | Grid Ext Ctrl State control setting | Grid Ext Ctrl State control setting | Control |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | NO | NO | NO | YES | m126Mod_Ena | N/A | m126Mod_Ena | model_126_enable | ✓ |  | Model 126 Enable | SunSpec Model 126 Enable Flag | SunSpec Model 126 Enable Flag | Control |  |  | measurement | measurement |  |  |  | NO | ABB Documentation
NO | NO | NO | NO | NO | NO | NO | NO | YES | m132Mod_Ena | N/A | m132Mod_Ena | model_132_enable | ✓ |  | Model 132 Enable | SunSpec Model 132 Enable Flag | SunSpec Model 132 Enable Flag | Control |  |  | measurement | measurement |  |  |  | NO | ABB Documentation
NO | NO | NO | NO | NO | NO | YES | NO | NO | N/A | pn | pn | pn | ✓ |  | Pn | Product number | Product number | System Monitoring |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | NO | YES | NO | NO | N/A | sn | sn | sn | ✓ |  | Sn | Serial number (datalogger) | Serial number (datalogger) | Device Info |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | NO | YES | YES | NO | N/A | store_size | store_size | flash_used | ✓ | ✓ | Flash Used | Flash Used | Flash Used | System Monitoring | B | B | measurement | measurement |  |  | diagnostic | NO | Both Feeds
NO | NO | NO | NO | NO | NO | YES | YES | NO | N/A | sys_load | sys_load | system_load | ✓ | ✓ | System Load | System Load | System Load | System Monitoring |  |  | measurement | measurement |  |  | diagnostic | NO | Both Feeds
NO | NO | NO | NO | NO | NO | YES | NO | NO | N/A | type | type | type | ✓ |  | Type | Device type | Device type | System Monitoring |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | NO | YES | YES | NO | N/A | uptime | uptime | uptime | ✓ | ✓ | Uptime | Uptime | Uptime | System Monitoring | s | s | measurement | measurement | duration | duration | diagnostic | NO | Both Feeds
NO | NO | NO | NO | NO | NO | YES | NO | NO | N/A | wlan0_essid | wlan0_essid | wlan_0_essid | ✓ |  | Wlan 0 Essid | WiFi network name (SSID) | WiFi network name (SSID) | System Monitoring |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | NO | YES | NO | NO | N/A | wlan0_ipaddr_local | wlan0_ipaddr_local | wlan_0_ipaddr_local | ✓ |  | Wlan 0 Ipaddr Local | WiFi local IP address | WiFi local IP address | System Monitoring |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | NO | YES | NO | NO | N/A | wlan0_link_quality | wlan0_link_quality | wlan_0_link_quality | ✓ |  | Wlan 0 Link Quality | WiFi signal strength | WiFi signal strength | System Monitoring |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name
NO | NO | NO | NO | NO | NO | YES | NO | NO | N/A | wlan0_mode | wlan0_mode | wlan_0_mode | ✓ |  | Wlan 0 Mode | Wlan 0 Mode operating mode | Wlan 0 Mode operating mode | System Monitoring |  |  | measurement | measurement |  |  |  | NO | Enhanced from point name

## Quality Report
VSN-SunSpec Mapping Quality Report
STATISTICS
Total points (original) | 277
Unique SunSpec names | 210
Duplicate rows eliminated | 67
Points needing description fix | 78
Points needing category fix | 67
Final point count | 210
Reduction percentage | 24.2%
DESCRIPTION QUALITY ISSUES (Description = Label)
SunSpec Name | HA Name | Current Description | Suggested Description
AlarmSt | alarm_state | Alarm State | Alarm State measurement point
BattNum | batt_num | Batt Num | Batt Num measurement point
CellTmpMax | tc_max | Tc Max | Maximum cell temperature in battery pack (°C)
CellTmpMin | tc_min | Tc Min | Minimum cell temperature in battery pack (°C)
Chc | charge_capacity | Charge Capacity | Charge Capacity measurement point
ClockState | clock_state | Clock State | Clock State measurement point
CommissioningFreeze | commissioning_freeze | Commissioning Freeze | Commissioning Freeze measurement point
DA | device_address | Device Address | Device Address measurement point
DCA_1 | dc_current_1 | DC Current #1 | DC Current #1 measurement point
DCA_2 | dc_current_2 | DC Current #2 | DC Current #2 measurement point
DCV_1 | dc_voltage_1 | DC Voltage #1 | DC Voltage #1 measurement point
DCV_2 | dc_voltage_2 | DC Voltage #2 | DC Voltage #2 measurement point
DCW_1 | dc_power_1 | DC Power #1 | DC Power #1 measurement point
DCW_2 | dc_power_2 | DC Power #2 | DC Power #2 measurement point
DI_status | status | Status | Status measurement point
DayWH | daily_energy | Daily Energy | Daily Energy measurement point
DcSt1 | dc_input_1_state | DC Input 1 State | DC Input 1 State measurement point
DcSt2 | dc_input_2_state | DC Input 2 State | DC Input 2 State measurement point
DetectedBatteryNumber | detected_battery_number | Detected Battery Number | Detected Battery Number measurement point
Dhc | discharge_capacity | Discharge Capacity | Discharge Capacity measurement point
E4_30D | e4_energy_30_day | E4 Energy 30 Day | E4 Energy 30 Day measurement point
E4_7D | e4_energy_7_day | E4 Energy 7 Day | E4 Energy 7 Day measurement point
E4_runtime | e4_energy_lifetime | E4 Energy Lifetime | E4 Energy Lifetime measurement point
E5_30D | e5_energy_30_day | E5 Energy 30 Day | E5 Energy 30 Day measurement point
E5_7D | e5_energy_7_day | E5 Energy 7 Day | E5 Energy 7 Day measurement point
E5_runtime | e5_energy_lifetime | E5 Energy Lifetime | E5 Energy Lifetime measurement point
ECt | e_ct | E Ct | Total energy charged to battery since installation (Wh)
EDt | e_dt | E Dt | Total energy discharged from battery since installation (Wh)
ETotalAbsorbed | e_total_absorbed | E Total Absorbed | E Total Absorbed measurement point
ETotalApparent | e_total_apparent | E Total Apparent | E Total Apparent measurement point
Ein1 | ein_1 | Ein 1 | Ein 1 measurement point
Ein2 | ein_2 | Ein 2 | Ein 2 measurement point
FRT_state | state | State | State measurement point
GlobalSt | global_state | Global State | Global State measurement point
HzA | frequency_phase_a | Frequency Phase A | Frequency Phase A measurement point
HzB | frequency_phase_b | Frequency Phase B | Frequency Phase B measurement point
HzC | frequency_phase_c | Frequency Phase C | Frequency Phase C measurement point
ILeakDcAc | leakage_current_dc_ac | Leakage Current DC-AC | Leakage Current DC-AC measurement point
ILeakDcDc | leakage_current_dc_dc | Leakage Current DC-DC | Leakage Current DC-DC measurement point
InputMode | input_mode | Input Mode | Input Mode measurement point
InverterSt | inverter_state | Inverter State | Inverter State measurement point
Isolation_Ohm1 | isolation_resistance | Isolation Resistance | Isolation Resistance measurement point
Md | model | Model | Model measurement point
Mn | manufacturer | Manufacturer | Manufacturer measurement point
Opt | options | Options | Options measurement point
PacStandAlone | pac_stand_alone | Pac Stand Alone | Pac Stand Alone measurement point
PacTogrid | pac_togrid | Pac Togrid | Pac Togrid measurement point
PhVphA | phase_voltage_an | Phase Voltage AN | Phase Voltage AN measurement point
PhVphAB | phase_voltage_ab | Phase Voltage AB | Phase Voltage AB measurement point
PhVphB | phase_voltage_bn | Phase Voltage BN | Phase Voltage BN measurement point
PhVphBC | phase_voltage_bc | Phase Voltage BC | Phase Voltage BC measurement point
PhVphC | phase_voltage_cn | Phase Voltage CN | Phase Voltage CN measurement point
PhVphCA | phase_voltage_ca | Phase Voltage CA | Phase Voltage CA measurement point
Pin1 | dc_power_1 | DC Power #1 | DC Power #1 measurement point
Pin2 | dc_power_2 | DC Power #2 | DC Power #2 measurement point
Qgrid | grid_reactive_power | Grid Reactive Power | Grid Reactive Power measurement point
SN | serial_number | Serial Number | Serial Number measurement point
ShU | shutdown | Shutdown | Shutdown measurement point
SplitPhase | split_phase | Split Phase | Split Phase measurement point
Temp1 | cabinet_temperature | Cabinet Temperature | Cabinet Temperature measurement point
Tmp | battery_temperature | Battery Temperature | Battery Temperature measurement point
TmpCab | cabinet_temperature | Cabinet Temperature | Cabinet Temperature measurement point
TmpOt | other_temperature | Other Temperature | Other Temperature measurement point
VAR | grid_reactive_power | Grid Reactive Power | Grid Reactive Power measurement point
Vr | version | Version | Version measurement point
flash_free | flash_free | Flash Free | Flash Free measurement point
store_size | flash_used | Flash Used | Flash Used measurement point
sys_load | system_load | System Load | System Load measurement point
uptime | uptime | Uptime | Uptime measurement point
CATEGORY FIXES (Unknown → Suggested)
HA Name | Current Category | Suggested Category
e_tot_charge | Unknown | Energy Counter
e_tot_discharge | Unknown | Energy Counter

## Model Coverage
Model Coverage Matrix
Model | Point Count | Percentage
M1 | 6 | 2.9%
M103 | 23 | 11.0%
M160 | 6 | 2.9%
M203 | 17 | 8.1%
M802 | 14 | 6.7%
M64061 | 74 | 35.2%
VSN300_Only | 73 | 34.8%
VSN700_Only | 10 | 4.8%
ABB_Proprietary | 47 | 22.4%