## VSN-REST-Sensors
entity_id | domainobject_id | name | icon | device_class | device_id | device_type | unit_of_measurement | point_name | friendly_name | label | vsn300_rest_name | vsn700_rest_name | sunspec_model | sunspec_name | description | vsn300_compatible | vsn700_compatible | category | Suggested device_class
sensor.abb_fimer_meter_MeterSN_dynamic_feed_in_ctrl | sensor | abb_fimer_meter_MeterSN_dynamic_feed_in_ctrl | None | None | MeterSN | meter | None | dynamic_feed_in_ctrl | ABB/FIMER Meter MeterSN Dynamic Feed In Ctrl | Dynamic Feed In Ctrl | N/A | DynamicFeedInCtrl | VSN700-only | DynamicFeedInCtrl | Dynamic Feed In Ctrl | FALSE | TRUE | Datalogger
sensor.abb_fimer_meter_MeterSN_current_ac_house_phase_a | sensor | abb_fimer_meter_MeterSN_current_ac_house_phase_a | None | current | MeterSN | meter | A | house_igrid_l1 | ABB/FIMER Meter MeterSN Current AC - House Phase A | House Igrid L1 | N/A | HouseIgrid_L1 | ABB Proprietary | HouseIgrid_L1 | House Current Phase A | FALSE | TRUE | System
sensor.abb_fimer_meter_MeterSN_current_ac_house_phase_b | sensor | abb_fimer_meter_MeterSN_current_ac_house_phase_b | None | current | MeterSN | meter | A | house_igrid_l2 | ABB/FIMER Meter MeterSN Current AC - House Phase B | House Igrid L2 | N/A | HouseIgrid_L2 | ABB Proprietary | HouseIgrid_L2 | House Current Phase B | FALSE | TRUE | System
sensor.abb_fimer_meter_MeterSN_current_ac_house_phase_c | sensor | abb_fimer_meter_MeterSN_current_ac_house_phase_c | None | current | MeterSN | meter | A | house_igrid_l3 | ABB/FIMER Meter MeterSN Current AC - House Phase C | House Igrid L3 | N/A | HouseIgrid_L3 | ABB Proprietary | HouseIgrid_L3 | House Current Phase C | FALSE | TRUE | System
sensor.abb_fimer_meter_MeterSN_power_ac_house_phase_a | sensor | abb_fimer_meter_MeterSN_power_ac_house_phase_a | None | power | MeterSN | meter | W | house_pgrid_l1 | ABB/FIMER Meter MeterSN Power AC - House Phase A | House Pgrid L1 | N/A | HousePgrid_L1 | ABB Proprietary | HousePgrid_L1 | House Power Phase A | FALSE | TRUE | System
sensor.abb_fimer_meter_MeterSN_power_ac_house_phase_b | sensor | abb_fimer_meter_MeterSN_power_ac_house_phase_b | None | power | MeterSN | meter | W | house_pgrid_l2 | ABB/FIMER Meter MeterSN Power AC - House Phase B | House Pgrid L2 | N/A | HousePgrid_L2 | ABB Proprietary | HousePgrid_L2 | House Power Phase B | FALSE | TRUE | System
sensor.abb_fimer_meter_MeterSN_power_ac_house_phase_c | sensor | abb_fimer_meter_MeterSN_power_ac_house_phase_c | None | power | MeterSN | meter | W | house_pgrid_l3 | ABB/FIMER Meter MeterSN Power AC - House Phase C | House Pgrid L3 | N/A | HousePgrid_L3 | ABB Proprietary | HousePgrid_L3 | House Power Phase C | FALSE | TRUE | System
sensor.abb_fimer_meter_MeterSN_power_ac_house_load_total | sensor | abb_fimer_meter_MeterSN_power_ac_house_load_total | None | power | MeterSN | meter | W | house_pgrid_tot | ABB/FIMER Meter MeterSN Power AC - House Load Total | House Pgrid Tot | N/A | HousePgrid_Tot | VSN700-only | HousePgrid_Tot | House load active power - Total | FALSE | TRUE | House Meter
sensor.abb_fimer_meter_MeterSN_power_home_pv | sensor | abb_fimer_meter_MeterSN_power_home_pv | None | power | MeterSN | meter | W | house_p_inverter | ABB/FIMER Meter MeterSN Power - Home PV | House P Inverter | N/A | HousePInverter | VSN700-only | HousePInverter | Home PV Power | FALSE | TRUE | House Meter
sensor.abb_fimer_meter_MeterSN_voltage_ac_meter_phase_a | sensor | abb_fimer_meter_MeterSN_voltage_ac_meter_phase_a | None | voltage | MeterSN | meter | V | meter_vgrid_l1 | ABB/FIMER Meter MeterSN Voltage AC - Meter Phase A | Meter Vgrid L1 | N/A | MeterVgrid_L1 | VSN700-only | MeterVgrid_L1 | Meter Voltage Phase A | FALSE | TRUE | Datalogger
sensor.abb_fimer_meter_MeterSN_voltage_ac_meter_phase_b | sensor | abb_fimer_meter_MeterSN_voltage_ac_meter_phase_b | None | voltage | MeterSN | meter | V | meter_vgrid_l2 | ABB/FIMER Meter MeterSN Voltage AC - Meter Phase B | Meter Vgrid L2 | N/A | MeterVgrid_L2 | VSN700-only | MeterVgrid_L2 | Meter Voltage Phase B | FALSE | TRUE | Datalogger
sensor.abb_fimer_meter_MeterSN_voltage_ac_meter_phase_c | sensor | abb_fimer_meter_MeterSN_voltage_ac_meter_phase_c | None | voltage | MeterSN | meter | V | meter_vgrid_l3 | ABB/FIMER Meter MeterSN Voltage AC - Meter Phase C | Meter Vgrid L3 | N/A | MeterVgrid_L3 | VSN700-only | MeterVgrid_L3 | Meter Voltage Phase C | FALSE | TRUE | Datalogger
sensor.abb_fimer_meter_MeterSN_current_ac_meter_phase_a | sensor | abb_fimer_meter_MeterSN_current_ac_meter_phase_a | None | current | MeterSN | meter | A | meter_igrid_l1 | ABB/FIMER Meter MeterSN Current AC - Meter Phase A | Meter Igrid L1 | N/A | MeterIgrid_L1 | VSN700-only | MeterIgrid_L1 | Meter Current Phase A | FALSE | TRUE | Datalogger
sensor.abb_fimer_meter_MeterSN_current_ac_meter_phase_b | sensor | abb_fimer_meter_MeterSN_current_ac_meter_phase_b | None | current | MeterSN | meter | A | meter_igrid_l2 | ABB/FIMER Meter MeterSN Current AC - Meter Phase B | Meter Igrid L2 | N/A | MeterIgrid_L2 | VSN700-only | MeterIgrid_L2 | Meter Current Phase B | FALSE | TRUE | Datalogger
sensor.abb_fimer_meter_MeterSN_current_ac_meter_phase_c | sensor | abb_fimer_meter_MeterSN_current_ac_meter_phase_c | None | current | MeterSN | meter | A | meter_igrid_l3 | ABB/FIMER Meter MeterSN Current AC - Meter Phase C | Meter Igrid L3 | N/A | MeterIgrid_L3 | VSN700-only | MeterIgrid_L3 | Meter Current Phase C | FALSE | TRUE | Datalogger
sensor.abb_fimer_meter_MeterSN_power_ac_meter_phase_a | sensor | abb_fimer_meter_MeterSN_power_ac_meter_phase_a | None | None | MeterSN | meter | None | meter_pgrid_l1 | ABB/FIMER Meter MeterSN Power AC - Meter Phase A | Meter Pgrid L1 | N/A | MeterPgrid_L1 | VSN700-only | MeterPgrid_L1 | Meter Power Phase A | FALSE | TRUE | Datalogger | power
sensor.abb_fimer_meter_MeterSN_power_ac_meter_phase_b | sensor | abb_fimer_meter_MeterSN_power_ac_meter_phase_b | None | None | MeterSN | meter | None | meter_pgrid_l2 | ABB/FIMER Meter MeterSN Power AC - Meter Phase B | Meter Pgrid L2 | N/A | MeterPgrid_L2 | VSN700-only | MeterPgrid_L2 | Meter Power Phase B | FALSE | TRUE | Datalogger | power
sensor.abb_fimer_meter_MeterSN_power_ac_meter_phase_c | sensor | abb_fimer_meter_MeterSN_power_ac_meter_phase_c | None | None | MeterSN | meter | None | meter_pgrid_l3 | ABB/FIMER Meter MeterSN Power AC - Meter Phase C | Meter Pgrid L3 | N/A | MeterPgrid_L3 | VSN700-only | MeterPgrid_L3 | Meter Power Phase C | FALSE | TRUE | Datalogger | power
sensor.abb_fimer_meter_MeterSN_power_ac_meter_total | sensor | abb_fimer_meter_MeterSN_power_ac_meter_total | None | power | MeterSN | meter | W | meter_pgrid_tot | ABB/FIMER Meter MeterSN Power AC - Meter Total | Meter Pgrid Tot | N/A | MeterPgrid_Tot | VSN700-only | MeterPgrid_Tot | Meter active power - Total | FALSE | TRUE | Datalogger
sensor.abb_fimer_meter_MeterSN_reactive_power_ac_meter_phase_a | sensor | abb_fimer_meter_MeterSN_reactive_power_ac_meter_phase_a | None | reactive_power | MeterSN | meter | var | meter_qgrid_l1 | ABB/FIMER Meter MeterSN Reactive Power AC - Meter Phase A | Meter Qgrid L1 | N/A | MeterQgrid_L1 | VSN700-only | MeterQgrid_L1 | Meter Reactive Power Phase A | FALSE | TRUE | Datalogger
sensor.abb_fimer_meter_MeterSN_reactive_power_ac_meter_phase_b | sensor | abb_fimer_meter_MeterSN_reactive_power_ac_meter_phase_b | None | reactive_power | MeterSN | meter | var | meter_qgrid_l2 | ABB/FIMER Meter MeterSN Reactive Power AC - Meter Phase B | Meter Qgrid L2 | N/A | MeterQgrid_L2 | VSN700-only | MeterQgrid_L2 | Meter Reactive Power Phase B | FALSE | TRUE | Datalogger
sensor.abb_fimer_meter_MeterSN_reactive_power_ac_meter_phase_c | sensor | abb_fimer_meter_MeterSN_reactive_power_ac_meter_phase_c | None | reactive_power | MeterSN | meter | var | meter_qgrid_l3 | ABB/FIMER Meter MeterSN Reactive Power AC - Meter Phase C | Meter Qgrid L3 | N/A | MeterQgrid_L3 | VSN700-only | MeterQgrid_L3 | Meter Reactive Power Phase C | FALSE | TRUE | Datalogger
sensor.abb_fimer_meter_MeterSN_reactive_power_ac_meter_total | sensor | abb_fimer_meter_MeterSN_reactive_power_ac_meter_total | None | reactive_power | MeterSN | meter | var | meter_qgrid_tot | ABB/FIMER Meter MeterSN Reactive Power AC - Meter Total | Meter Qgrid Tot | N/A | MeterQgrid_Tot | VSN700-only | MeterQgrid_Tot | Meter reactive power - Total | FALSE | TRUE | Datalogger
sensor.abb_fimer_meter_MeterSN_frequency_ac_meter | sensor | abb_fimer_meter_MeterSN_frequency_ac_meter | None | frequency | MeterSN | meter | Hz | meter_fgrid | ABB/FIMER Meter MeterSN Frequency AC - Meter | Meter Fgrid | N/A | MeterFgrid | VSN700-only | MeterFgrid | Meter AC frequency | FALSE | TRUE | Datalogger
sensor.abb_fimer_meter_MeterSN_commissioning_freeze | sensor | abb_fimer_meter_MeterSN_commissioning_freeze | None | None | MeterSN | meter | None | commissioning_freeze | ABB/FIMER Meter MeterSN Commissioning Freeze | Commissioning Freeze | N/A | CommissioningFreeze | VSN700-only | CommissioningFreeze | Commissioning Freeze | FALSE | TRUE | Datalogger
sensor.abb_fimer_meter_MeterSN_energy_ac_grid_export_since_restart | sensor | abb_fimer_meter_MeterSN_energy_ac_grid_export_since_restart | None | energy | MeterSN | meter | Wh | e3_lifetime | ABB/FIMER Meter MeterSN Energy AC - Grid Export Since Restart | E3 Lifetime | N/A | E3_runtime | VSN700-only | E3_runtime | Energy exported to grid - Since Restart | FALSE | TRUE | Energy Counter
sensor.abb_fimer_meter_MeterSN_energy_ac_grid_export_last_7_days | sensor | abb_fimer_meter_MeterSN_energy_ac_grid_export_last_7_days | None | energy | MeterSN | meter | Wh | e3_last_week | ABB/FIMER Meter MeterSN Energy AC - Grid Export Last 7 Days | E3 Last Week | N/A | E3_7D | VSN700-only | E3_7D | Energy exported to grid - Last 7 Days | FALSE | TRUE | Energy Counter
sensor.abb_fimer_meter_MeterSN_energy_ac_grid_export_last_30_days | sensor | abb_fimer_meter_MeterSN_energy_ac_grid_export_last_30_days | None | energy | MeterSN | meter | Wh | e3_last_month | ABB/FIMER Meter MeterSN Energy AC - Grid Export Last 30 Days | E3 Last Month | N/A | E3_30D | VSN700-only | E3_30D | Energy exported to grid - Last 30 Days | FALSE | TRUE | Energy Counter
sensor.abb_fimer_meter_MeterSN_energy_house_from_inverter_since_restart | sensor | abb_fimer_meter_MeterSN_energy_house_from_inverter_since_restart | None | energy | MeterSN | meter | Wh | e6_lifetime | ABB/FIMER Meter MeterSN Energy - House from Inverter Since Restart | E6 Lifetime | N/A | E6_runtime | VSN700-only | E6_runtime | House consumption from inverter - Since Restart | FALSE | TRUE | Energy Counter
sensor.abb_fimer_meter_MeterSN_energy_house_from_inverter_last_7_days | sensor | abb_fimer_meter_MeterSN_energy_house_from_inverter_last_7_days | None | energy | MeterSN | meter | Wh | e6_last_week | ABB/FIMER Meter MeterSN Energy - House from Inverter Last 7 Days | E6 Last Week | N/A | E6_7D | VSN700-only | E6_7D | House consumption from inverter - Last 7 Days | FALSE | TRUE | Energy Counter
sensor.abb_fimer_meter_MeterSN_energy_house_from_inverter_last_30_days | sensor | abb_fimer_meter_MeterSN_energy_house_from_inverter_last_30_days | None | energy | MeterSN | meter | Wh | e6_last_month | ABB/FIMER Meter MeterSN Energy - House from Inverter Last 30 Days | E6 Last Month | N/A | E6_30D | VSN700-only | E6_30D | House consumption from inverter - Last 30 Days | FALSE | TRUE | Energy Counter
sensor.abb_fimer_meter_MeterSN_energy_house_consumption_since_restart | sensor | abb_fimer_meter_MeterSN_energy_house_consumption_since_restart | None | energy | MeterSN | meter | Wh | e7_lifetime | ABB/FIMER Meter MeterSN Energy - House Consumption Since Restart | E7 Lifetime | N/A | E7_runtime | VSN700-only | E7_runtime | Total house consumption - Since Restart | FALSE | TRUE | Energy Counter
sensor.abb_fimer_meter_MeterSN_energy_house_consumption_last_7_days | sensor | abb_fimer_meter_MeterSN_energy_house_consumption_last_7_days | None | energy | MeterSN | meter | Wh | e7_last_week | ABB/FIMER Meter MeterSN Energy - House Consumption Last 7 Days | E7 Last Week | N/A | E7_7D | VSN700-only | E7_7D | Total house consumption - Last 7 Days | FALSE | TRUE | Energy Counter
sensor.abb_fimer_meter_MeterSN_energy_house_consumption_last_30_days | sensor | abb_fimer_meter_MeterSN_energy_house_consumption_last_30_days | None | energy | MeterSN | meter | Wh | e7_last_month | ABB/FIMER Meter MeterSN Energy - House Consumption Last 30 Days | E7 Last Month | N/A | E7_30D | VSN700-only | E7_30D | Total house consumption - Last 30 Days | FALSE | TRUE | Energy Counter
sensor.abb_fimer_meter_MeterSN_energy_ac_grid_import_since_restart | sensor | abb_fimer_meter_MeterSN_energy_ac_grid_import_since_restart | None | energy | MeterSN | meter | Wh | e8_lifetime | ABB/FIMER Meter MeterSN Energy AC - Grid Import Since Restart | E8 Lifetime | N/A | E8_runtime | VSN700-only | E8_runtime | Energy imported from grid - Since Restart | FALSE | TRUE | Energy Counter
sensor.abb_fimer_meter_MeterSN_energy_ac_grid_import_last_7_days | sensor | abb_fimer_meter_MeterSN_energy_ac_grid_import_last_7_days | None | energy | MeterSN | meter | Wh | e8_last_week | ABB/FIMER Meter MeterSN Energy AC - Grid Import Last 7 Days | E8 Last Week | N/A | E8_7D | VSN700-only | E8_7D | Energy imported from grid - Last 7 Days | FALSE | TRUE | Energy Counter
sensor.abb_fimer_meter_MeterSN_energy_ac_grid_import_last_30_days | sensor | abb_fimer_meter_MeterSN_energy_ac_grid_import_last_30_days | None | energy | MeterSN | meter | Wh | e8_last_month | ABB/FIMER Meter MeterSN Energy AC - Grid Import Last 30 Days | E8 Last Month | N/A | E8_30D | VSN700-only | E8_30D | Energy imported from grid - Last 30 Days | FALSE | TRUE | Energy Counter
sensor.abb_fimer_meter_MeterSN_energy_ac_grid_import_lifetime | sensor | abb_fimer_meter_MeterSN_energy_ac_grid_import_lifetime | None | energy | MeterSN | meter | kWh | e_grid_import | ABB/FIMER Meter MeterSN Energy AC - Grid Import Lifetime | E Grid Import | N/A | EGridImport | VSN700-only | EGridImport | Energy imported from grid - Lifetime | FALSE | TRUE | Energy Counter
sensor.abb_fimer_meter_MeterSN_energy_ac_grid_export_lifetime | sensor | abb_fimer_meter_MeterSN_energy_ac_grid_export_lifetime | None | energy | MeterSN | meter | kWh | e_grid_export | ABB/FIMER Meter MeterSN Energy AC - Grid Export Lifetime | E Grid Export | N/A | EGridExport | VSN700-only | EGridExport | Energy exported to grid - Lifetime | FALSE | TRUE | Energy Counter
sensor.abb_fimer_battery_Battery1SN_number_of_battery_cells_or_modules | sensor | abb_fimer_battery_Battery1SN_number_of_battery_cells_or_modules | None | None | Battery1SN | battery | None | batt_num | ABB/FIMER Battery Battery1SN Number of battery cells or modules | Batt Num | N/A | BattNum | ABB Proprietary | BattNum | Number of battery cells or modules | FALSE | TRUE | System
sensor.abb_fimer_battery_Battery1SN_current_battery | sensor | abb_fimer_battery_Battery1SN_current_battery | None | None | Battery1SN | battery | None | iba | ABB/FIMER Battery Battery1SN Current - Battery | Iba | N/A | Iba | VSN700-only | Iba | Battery DC current flow | FALSE | TRUE | Datalogger | current
sensor.abb_fimer_battery_Battery1SN_voltage_battery | sensor | abb_fimer_battery_Battery1SN_voltage_battery | None | None | Battery1SN | battery | None | vba | ABB/FIMER Battery Battery1SN Voltage - Battery | Vba | N/A | Vba | VSN700-only | Vba | Battery pack voltage | FALSE | TRUE | Datalogger | voltage
sensor.abb_fimer_battery_Battery1SN_power_battery_total | sensor | abb_fimer_battery_Battery1SN_power_battery_total | None | None | Battery1SN | battery | None | pba | ABB/FIMER Battery Battery1SN Power - Battery Total | Pba | N/A | Pba | VSN700-only | Pba | Battery charge/discharge power | FALSE | TRUE | Datalogger | power
sensor.abb_fimer_battery_Battery1SN_temperature_battery | sensor | abb_fimer_battery_Battery1SN_temperature_battery | None | None | Battery1SN | battery | None | tba | ABB/FIMER Battery Battery1SN Temperature - Battery | Tba | N/A | Tba | VSN700-only | Tba | Battery pack temperature | FALSE | TRUE | Datalogger | temperature
sensor.abb_fimer_battery_Battery1SN_state_of_charge | sensor | abb_fimer_battery_Battery1SN_state_of_charge | None | battery | Battery1SN | battery | % | state_of_charge | ABB/FIMER Battery Battery1SN State of Charge | State of Charge | N/A | Soc | ABB Proprietary | Soc | State of Charge | FALSE | TRUE | System
sensor.abb_fimer_battery_Battery1SN_voltage_battery_cell_max | sensor | abb_fimer_battery_Battery1SN_voltage_battery_cell_max | None | voltage | Battery1SN | battery | V | vc_max | ABB/FIMER Battery Battery1SN Voltage - Battery Cell Max | Vc Max | N/A | VcMax | VSN700-only | VcMax | Maximum voltage across battery cells | FALSE | TRUE | Datalogger
sensor.abb_fimer_battery_Battery1SN_voltage_battery_cell_min | sensor | abb_fimer_battery_Battery1SN_voltage_battery_cell_min | None | voltage | Battery1SN | battery | V | vc_min | ABB/FIMER Battery Battery1SN Voltage - Battery Cell Min | Vc Min | N/A | VcMin | VSN700-only | VcMin | Minimum voltage across battery cells | FALSE | TRUE | Datalogger
sensor.abb_fimer_battery_Battery1SN_temperature_cabinet_max | sensor | abb_fimer_battery_Battery1SN_temperature_cabinet_max | None | None | Battery1SN | battery | None | tc_max | ABB/FIMER Battery Battery1SN Temperature - Cabinet Max | Tc Max | N/A | TcMax | VSN700-only | TcMax | Maximum cabinet temperature recorded | FALSE | TRUE | Datalogger | temperature
sensor.abb_fimer_battery_Battery1SN_temperature_cabinet_min | sensor | abb_fimer_battery_Battery1SN_temperature_cabinet_min | None | None | Battery1SN | battery | None | tc_min | ABB/FIMER Battery Battery1SN Temperature - Cabinet Min | Tc Min | N/A | TcMin | VSN700-only | TcMin | Minimum cabinet temperature recorded | FALSE | TRUE | Datalogger | temperature
sensor.abb_fimer_battery_Battery1SN_state_of_health | sensor | abb_fimer_battery_Battery1SN_state_of_health | None | battery | Battery1SN | battery | % | state_of_health | ABB/FIMER Battery Battery1SN State of Health | State of Health | N/A | Soh | ABB Proprietary | Soh | State of Health | FALSE | TRUE | System
sensor.abb_fimer_battery_Battery1SN_voltage_shunt | sensor | abb_fimer_battery_Battery1SN_voltage_shunt | None | None | Battery1SN | battery | None | sh_u | ABB/FIMER Battery Battery1SN Voltage - Shunt | Sh U | N/A | ShU | VSN700-only | ShU | Current shunt voltage | FALSE | TRUE | Datalogger
sensor.abb_fimer_battery_Battery1SN_power_battery_charge | sensor | abb_fimer_battery_Battery1SN_power_battery_charge | None | power | Battery1SN | battery | W | p_ch | ABB/FIMER Battery Battery1SN Power - Battery Charge | P Ch | N/A | PCh | VSN700-only | PCh | Battery charging power | FALSE | TRUE | Datalogger
sensor.abb_fimer_battery_Battery1SN_power_battery_discharge | sensor | abb_fimer_battery_Battery1SN_power_battery_discharge | None | power | Battery1SN | battery | W | p_dh | ABB/FIMER Battery Battery1SN Power - Battery Discharge | P Dh | N/A | PDh | VSN700-only | PDh | Battery discharging power | FALSE | TRUE | Datalogger
sensor.abb_fimer_battery_Battery1SN_battery_charge_cycles_counter | sensor | abb_fimer_battery_Battery1SN_battery_charge_cycles_counter | None | None | Battery1SN | battery | None | chc | ABB/FIMER Battery Battery1SN Battery charge cycles counter | Chc | N/A | Chc | ABB Proprietary | Chc | Battery charge cycles counter | FALSE | TRUE | System
sensor.abb_fimer_battery_Battery1SN_battery_discharge_cycles_counter | sensor | abb_fimer_battery_Battery1SN_battery_discharge_cycles_counter | None | None | Battery1SN | battery | None | dhc | ABB/FIMER Battery Battery1SN Battery discharge cycles counter | Dhc | N/A | Dhc | ABB Proprietary | Dhc | Battery discharge cycles counter | FALSE | TRUE | System
sensor.abb_fimer_battery_Battery1SN_central_controller_frequency | sensor | abb_fimer_battery_Battery1SN_central_controller_frequency | None | None | Battery1SN | battery | None | fcc | ABB/FIMER Battery Battery1SN Central controller frequency | Fcc | N/A | Fcc | VSN700-only | Fcc | Central controller frequency | FALSE | TRUE | Datalogger
sensor.abb_fimer_battery_Battery1SN_total_energy_from_current_transformer_ct | sensor | abb_fimer_battery_Battery1SN_total_energy_from_current_transformer_ct | None | None | Battery1SN | battery | None | e_ct | ABB/FIMER Battery Battery1SN Total energy from current transformer (CT) | E Ct | N/A | ECt | VSN700-only | ECt | Total energy from current transformer (CT) | FALSE | TRUE | Energy Counter | energy
sensor.abb_fimer_battery_Battery1SN_total_energy_from_direct_transducer_dt | sensor | abb_fimer_battery_Battery1SN_total_energy_from_direct_transducer_dt | None | None | Battery1SN | battery | None | e_dt | ABB/FIMER Battery Battery1SN Total energy from direct transducer (DT) | E Dt | N/A | EDt | VSN700-only | EDt | Total energy from direct transducer (DT) | FALSE | TRUE | Energy Counter | energy
sensor.abb_fimer_battery_Battery1SN_energy_battery_discharge_since_restart | sensor | abb_fimer_battery_Battery1SN_energy_battery_discharge_since_restart | None | energy | Battery1SN | battery | Wh | e_discharge_lifetime | ABB/FIMER Battery Battery1SN Energy - Battery Discharge Since Restart | E Discharge Lifetime | N/A | EDischarge_runtime | VSN700-only | EDischarge_runtime | Battery discharge energy - Since Restart | FALSE | TRUE | Battery
sensor.abb_fimer_battery_Battery1SN_energy_battery_discharge_last_7_days | sensor | abb_fimer_battery_Battery1SN_energy_battery_discharge_last_7_days | None | energy | Battery1SN | battery | Wh | e_discharge_last_week | ABB/FIMER Battery Battery1SN Energy - Battery Discharge Last 7 Days | E Discharge Last Week | N/A | EDischarge_7D | VSN700-only | EDischarge_7D | Battery discharge energy - Last 7 Days | FALSE | TRUE | Battery
sensor.abb_fimer_battery_Battery1SN_energy_battery_discharge_last_30_days | sensor | abb_fimer_battery_Battery1SN_energy_battery_discharge_last_30_days | None | energy | Battery1SN | battery | Wh | e_discharge_last_month | ABB/FIMER Battery Battery1SN Energy - Battery Discharge Last 30 Days | E Discharge Last Month | N/A | EDischarge_30D | VSN700-only | EDischarge_30D | Battery discharge energy - Last 30 Days | FALSE | TRUE | Battery
sensor.abb_fimer_battery_Battery1SN_energy_battery_discharge_lifetime | sensor | abb_fimer_battery_Battery1SN_energy_battery_discharge_lifetime | None | energy | Battery1SN | battery | kWh | e_discharge | ABB/FIMER Battery Battery1SN Energy - Battery Discharge Lifetime | E Discharge | N/A | EDischarge | M64061 | EDischarge | Battery discharge energy - Lifetime | TRUE | TRUE | Status
sensor.abb_fimer_battery_Battery1SN_energy_battery_charge_since_restart | sensor | abb_fimer_battery_Battery1SN_energy_battery_charge_since_restart | None | energy | Battery1SN | battery | Wh | e_charge_lifetime | ABB/FIMER Battery Battery1SN Energy - Battery Charge Since Restart | E Charge Lifetime | N/A | ECharge_runtime | VSN700-only | ECharge_runtime | Battery charge energy - Since Restart | FALSE | TRUE | Battery
sensor.abb_fimer_battery_Battery1SN_energy_battery_charge_last_7_days | sensor | abb_fimer_battery_Battery1SN_energy_battery_charge_last_7_days | None | energy | Battery1SN | battery | Wh | e_charge_last_week | ABB/FIMER Battery Battery1SN Energy - Battery Charge Last 7 Days | E Charge Last Week | N/A | ECharge_7D | VSN700-only | ECharge_7D | Battery charge energy - Last 7 Days | FALSE | TRUE | Battery
sensor.abb_fimer_battery_Battery1SN_energy_battery_charge_last_30_days | sensor | abb_fimer_battery_Battery1SN_energy_battery_charge_last_30_days | None | energy | Battery1SN | battery | Wh | e_charge_last_month | ABB/FIMER Battery Battery1SN Energy - Battery Charge Last 30 Days | E Charge Last Month | N/A | ECharge_30D | VSN700-only | ECharge_30D | Battery charge energy - Last 30 Days | FALSE | TRUE | Battery
sensor.abb_fimer_battery_Battery1SN_energy_battery_charge_lifetime | sensor | abb_fimer_battery_Battery1SN_energy_battery_charge_lifetime | None | energy | Battery1SN | battery | kWh | e_charge | ABB/FIMER Battery Battery1SN Energy - Battery Charge Lifetime | E Charge | N/A | ECharge | M64061 | ECharge | Battery charge energy - Lifetime | TRUE | TRUE | Status
sensor.abb_fimer_battery_Battery1SN_count_battery_cycles | sensor | abb_fimer_battery_Battery1SN_count_battery_cycles | None | None | Battery1SN | battery | cycles | cycle_num | ABB/FIMER Battery Battery1SN Count - Battery Cycles | Cycle Num | N/A | CycleNum | VSN700-only | CycleNum | Battery charge/discharge cycle count | FALSE | TRUE | Datalogger
sensor.abb_fimer_battery_Battery2SN_number_of_battery_cells_or_modules | sensor | abb_fimer_battery_Battery2SN_number_of_battery_cells_or_modules | None | None | Battery2SN | battery | None | batt_num | ABB/FIMER Battery Battery2SN Number of battery cells or modules | Batt Num | N/A | BattNum | ABB Proprietary | BattNum | Number of battery cells or modules | FALSE | TRUE | System
sensor.abb_fimer_battery_Battery2SN_current_battery | sensor | abb_fimer_battery_Battery2SN_current_battery | None | None | Battery2SN | battery | None | iba | ABB/FIMER Battery Battery2SN Current - Battery | Iba | N/A | Iba | VSN700-only | Iba | Battery DC current flow | FALSE | TRUE | Datalogger | current
sensor.abb_fimer_battery_Battery2SN_voltage_battery | sensor | abb_fimer_battery_Battery2SN_voltage_battery | None | None | Battery2SN | battery | None | vba | ABB/FIMER Battery Battery2SN Voltage - Battery | Vba | N/A | Vba | VSN700-only | Vba | Battery pack voltage | FALSE | TRUE | Datalogger | voltage
sensor.abb_fimer_battery_Battery2SN_power_battery_total | sensor | abb_fimer_battery_Battery2SN_power_battery_total | None | None | Battery2SN | battery | None | pba | ABB/FIMER Battery Battery2SN Power - Battery Total | Pba | N/A | Pba | VSN700-only | Pba | Battery charge/discharge power | FALSE | TRUE | Datalogger | power
sensor.abb_fimer_battery_Battery2SN_temperature_battery | sensor | abb_fimer_battery_Battery2SN_temperature_battery | None | None | Battery2SN | battery | None | tba | ABB/FIMER Battery Battery2SN Temperature - Battery | Tba | N/A | Tba | VSN700-only | Tba | Battery pack temperature | FALSE | TRUE | Datalogger | temperature
sensor.abb_fimer_battery_Battery2SN_state_of_charge | sensor | abb_fimer_battery_Battery2SN_state_of_charge | None | battery | Battery2SN | battery | % | state_of_charge | ABB/FIMER Battery Battery2SN State of Charge | State of Charge | N/A | Soc | ABB Proprietary | Soc | State of Charge | FALSE | TRUE | System
sensor.abb_fimer_battery_Battery2SN_voltage_battery_cell_max | sensor | abb_fimer_battery_Battery2SN_voltage_battery_cell_max | None | voltage | Battery2SN | battery | V | vc_max | ABB/FIMER Battery Battery2SN Voltage - Battery Cell Max | Vc Max | N/A | VcMax | VSN700-only | VcMax | Maximum voltage across battery cells | FALSE | TRUE | Datalogger
sensor.abb_fimer_battery_Battery2SN_voltage_battery_cell_min | sensor | abb_fimer_battery_Battery2SN_voltage_battery_cell_min | None | voltage | Battery2SN | battery | V | vc_min | ABB/FIMER Battery Battery2SN Voltage - Battery Cell Min | Vc Min | N/A | VcMin | VSN700-only | VcMin | Minimum voltage across battery cells | FALSE | TRUE | Datalogger
sensor.abb_fimer_battery_Battery2SN_temperature_cabinet_max | sensor | abb_fimer_battery_Battery2SN_temperature_cabinet_max | None | None | Battery2SN | battery | None | tc_max | ABB/FIMER Battery Battery2SN Temperature - Cabinet Max | Tc Max | N/A | TcMax | VSN700-only | TcMax | Maximum cabinet temperature recorded | FALSE | TRUE | Datalogger | temperature
sensor.abb_fimer_battery_Battery2SN_temperature_cabinet_min | sensor | abb_fimer_battery_Battery2SN_temperature_cabinet_min | None | None | Battery2SN | battery | None | tc_min | ABB/FIMER Battery Battery2SN Temperature - Cabinet Min | Tc Min | N/A | TcMin | VSN700-only | TcMin | Minimum cabinet temperature recorded | FALSE | TRUE | Datalogger | temperature
sensor.abb_fimer_battery_Battery2SN_state_of_health | sensor | abb_fimer_battery_Battery2SN_state_of_health | None | battery | Battery2SN | battery | % | state_of_health | ABB/FIMER Battery Battery2SN State of Health | State of Health | N/A | Soh | ABB Proprietary | Soh | State of Health | FALSE | TRUE | System
sensor.abb_fimer_battery_Battery2SN_voltage_shunt | sensor | abb_fimer_battery_Battery2SN_voltage_shunt | None | None | Battery2SN | battery | None | sh_u | ABB/FIMER Battery Battery2SN Voltage - Shunt | Sh U | N/A | ShU | VSN700-only | ShU | Current shunt voltage | FALSE | TRUE | Datalogger
sensor.abb_fimer_battery_Battery2SN_power_battery_charge | sensor | abb_fimer_battery_Battery2SN_power_battery_charge | None | power | Battery2SN | battery | W | p_ch | ABB/FIMER Battery Battery2SN Power - Battery Charge | P Ch | N/A | PCh | VSN700-only | PCh | Battery charging power | FALSE | TRUE | Datalogger
sensor.abb_fimer_battery_Battery2SN_power_battery_discharge | sensor | abb_fimer_battery_Battery2SN_power_battery_discharge | None | power | Battery2SN | battery | W | p_dh | ABB/FIMER Battery Battery2SN Power - Battery Discharge | P Dh | N/A | PDh | VSN700-only | PDh | Battery discharging power | FALSE | TRUE | Datalogger
sensor.abb_fimer_battery_Battery2SN_battery_charge_cycles_counter | sensor | abb_fimer_battery_Battery2SN_battery_charge_cycles_counter | None | None | Battery2SN | battery | None | chc | ABB/FIMER Battery Battery2SN Battery charge cycles counter | Chc | N/A | Chc | ABB Proprietary | Chc | Battery charge cycles counter | FALSE | TRUE | System
sensor.abb_fimer_battery_Battery2SN_battery_discharge_cycles_counter | sensor | abb_fimer_battery_Battery2SN_battery_discharge_cycles_counter | None | None | Battery2SN | battery | None | dhc | ABB/FIMER Battery Battery2SN Battery discharge cycles counter | Dhc | N/A | Dhc | ABB Proprietary | Dhc | Battery discharge cycles counter | FALSE | TRUE | System
sensor.abb_fimer_battery_Battery2SN_central_controller_frequency | sensor | abb_fimer_battery_Battery2SN_central_controller_frequency | None | None | Battery2SN | battery | None | fcc | ABB/FIMER Battery Battery2SN Central controller frequency | Fcc | N/A | Fcc | VSN700-only | Fcc | Central controller frequency | FALSE | TRUE | Datalogger
sensor.abb_fimer_battery_Battery2SN_total_energy_from_current_transformer_ct | sensor | abb_fimer_battery_Battery2SN_total_energy_from_current_transformer_ct | None | None | Battery2SN | battery | None | e_ct | ABB/FIMER Battery Battery2SN Total energy from current transformer (CT) | E Ct | N/A | ECt | VSN700-only | ECt | Total energy from current transformer (CT) | FALSE | TRUE | Energy Counter | energy
sensor.abb_fimer_battery_Battery2SN_total_energy_from_direct_transducer_dt | sensor | abb_fimer_battery_Battery2SN_total_energy_from_direct_transducer_dt | None | None | Battery2SN | battery | None | e_dt | ABB/FIMER Battery Battery2SN Total energy from direct transducer (DT) | E Dt | N/A | EDt | VSN700-only | EDt | Total energy from direct transducer (DT) | FALSE | TRUE | Energy Counter | energy
sensor.abb_fimer_battery_Battery2SN_energy_battery_discharge_since_restart | sensor | abb_fimer_battery_Battery2SN_energy_battery_discharge_since_restart | None | energy | Battery2SN | battery | Wh | e_discharge_lifetime | ABB/FIMER Battery Battery2SN Energy - Battery Discharge Since Restart | E Discharge Lifetime | N/A | EDischarge_runtime | VSN700-only | EDischarge_runtime | Battery discharge energy - Since Restart | FALSE | TRUE | Battery
sensor.abb_fimer_battery_Battery2SN_energy_battery_discharge_last_7_days | sensor | abb_fimer_battery_Battery2SN_energy_battery_discharge_last_7_days | None | energy | Battery2SN | battery | Wh | e_discharge_last_week | ABB/FIMER Battery Battery2SN Energy - Battery Discharge Last 7 Days | E Discharge Last Week | N/A | EDischarge_7D | VSN700-only | EDischarge_7D | Battery discharge energy - Last 7 Days | FALSE | TRUE | Battery
sensor.abb_fimer_battery_Battery2SN_energy_battery_discharge_last_30_days | sensor | abb_fimer_battery_Battery2SN_energy_battery_discharge_last_30_days | None | energy | Battery2SN | battery | Wh | e_discharge_last_month | ABB/FIMER Battery Battery2SN Energy - Battery Discharge Last 30 Days | E Discharge Last Month | N/A | EDischarge_30D | VSN700-only | EDischarge_30D | Battery discharge energy - Last 30 Days | FALSE | TRUE | Battery
sensor.abb_fimer_battery_Battery2SN_energy_battery_discharge_lifetime | sensor | abb_fimer_battery_Battery2SN_energy_battery_discharge_lifetime | None | energy | Battery2SN | battery | kWh | e_discharge | ABB/FIMER Battery Battery2SN Energy - Battery Discharge Lifetime | E Discharge | N/A | EDischarge | M64061 | EDischarge | Battery discharge energy - Lifetime | TRUE | TRUE | Status
sensor.abb_fimer_battery_Battery2SN_energy_battery_charge_since_restart | sensor | abb_fimer_battery_Battery2SN_energy_battery_charge_since_restart | None | energy | Battery2SN | battery | Wh | e_charge_lifetime | ABB/FIMER Battery Battery2SN Energy - Battery Charge Since Restart | E Charge Lifetime | N/A | ECharge_runtime | VSN700-only | ECharge_runtime | Battery charge energy - Since Restart | FALSE | TRUE | Battery
sensor.abb_fimer_battery_Battery2SN_energy_battery_charge_last_7_days | sensor | abb_fimer_battery_Battery2SN_energy_battery_charge_last_7_days | None | energy | Battery2SN | battery | Wh | e_charge_last_week | ABB/FIMER Battery Battery2SN Energy - Battery Charge Last 7 Days | E Charge Last Week | N/A | ECharge_7D | VSN700-only | ECharge_7D | Battery charge energy - Last 7 Days | FALSE | TRUE | Battery
sensor.abb_fimer_battery_Battery2SN_energy_battery_charge_last_30_days | sensor | abb_fimer_battery_Battery2SN_energy_battery_charge_last_30_days | None | energy | Battery2SN | battery | Wh | e_charge_last_month | ABB/FIMER Battery Battery2SN Energy - Battery Charge Last 30 Days | E Charge Last Month | N/A | ECharge_30D | VSN700-only | ECharge_30D | Battery charge energy - Last 30 Days | FALSE | TRUE | Battery
sensor.abb_fimer_battery_Battery2SN_energy_battery_charge_lifetime | sensor | abb_fimer_battery_Battery2SN_energy_battery_charge_lifetime | None | energy | Battery2SN | battery | kWh | e_charge | ABB/FIMER Battery Battery2SN Energy - Battery Charge Lifetime | E Charge | N/A | ECharge | M64061 | ECharge | Battery charge energy - Lifetime | TRUE | TRUE | Status
sensor.abb_fimer_battery_Battery2SN_count_battery_cycles | sensor | abb_fimer_battery_Battery2SN_count_battery_cycles | None | None | Battery2SN | battery | cycles | cycle_num | ABB/FIMER Battery Battery2SN Count - Battery Cycles | Cycle Num | N/A | CycleNum | VSN700-only | CycleNum | Battery charge/discharge cycle count | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_country_grid_standard_setting | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_country_grid_standard_setting | mdi:information-box-outline | None | InverterSN | inverter_1phase | None | country_std | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Country grid standard setting | Country Std | CountryStd | CountryStd | ABB Proprietary | CountryStd | Country grid standard setting | FALSE | TRUE | System
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_input_mode | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_input_mode | None | None | InverterSN | inverter_1phase | None | input_mode | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Input Mode | Input Mode | N/A | InputMode | VSN700-only | InputMode | Input Mode | FALSE | TRUE | System Monitoring
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_count_mppt_channels | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_count_mppt_channels | None | None | InverterSN | inverter_1phase | channels | num_of_mppt | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Count - MPPT Channels | Num Of MPPT | N/A | NumOfMPPT | VSN700-only | NumOfMPPT | Number of MPPT DC input channels | FALSE | TRUE | Inverter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_power_rating | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_power_rating | None | power | InverterSN | inverter_1phase | W | w_rtg | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Power - Rating | W Rtg | N/A | WRtg | VSN700-only | WRtg | Inverter rated power capacity | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_current_dc_string_1 | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_current_dc_string_1 | None | None | InverterSN | inverter_1phase | None | iin1 | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Current DC - String 1 | Iin1 | N/A | Iin1 | VSN700-only | Iin1 | DC Current (String 1) | FALSE | TRUE | Datalogger | current
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_voltage_dc_input_1 | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_voltage_dc_input_1 | None | None | InverterSN | inverter_1phase | None | vin1 | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Voltage DC - Input 1 | Vin1 | N/A | Vin1 | VSN700-only | Vin1 | DC string 1 input voltage | FALSE | TRUE | Datalogger | voltage
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_power_dc_string_1 | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_power_dc_string_1 | None | power | InverterSN | inverter_1phase | W | pin1 | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Power DC - String 1 | Pin1 | N/A | Pin1 | VSN700-only | Pin1 | DC Input Power (String 1) | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_current_dc_string_2 | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_current_dc_string_2 | None | None | InverterSN | inverter_1phase | None | iin2 | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Current DC - String 2 | Iin2 | N/A | Iin2 | VSN700-only | Iin2 | DC Current (String 2) | FALSE | TRUE | Datalogger | current
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_voltage_dc_input_2 | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_voltage_dc_input_2 | None | None | InverterSN | inverter_1phase | None | vin2 | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Voltage DC - Input 2 | Vin2 | N/A | Vin2 | VSN700-only | Vin2 | DC string 2 input voltage | FALSE | TRUE | Datalogger | voltage
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_power_dc_string_2 | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_power_dc_string_2 | None | power | InverterSN | inverter_1phase | W | pin2 | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Power DC - String 2 | Pin2 | N/A | Pin2 | VSN700-only | Pin2 | DC Input Power (String 2) | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_power_dc_input_total | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_power_dc_input_total | None | power | InverterSN | inverter_1phase | W | pin | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Power DC - Input Total | Pin | N/A | Pin | VSN700-only | Pin | Total DC Input Power | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_current_ac | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_current_ac | None | current | InverterSN | inverter_1phase | A | amps | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Current AC | Amps | m103_1_A | Igrid | M103 | A | AC Current | TRUE | TRUE | Inverter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_power_ac | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_power_ac | None | power | InverterSN | inverter_1phase | W | watts | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Power AC | Watts | m103_1_W | Pgrid | M103 | W | AC Power | TRUE | TRUE | Inverter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_voltage_ac_phase_a_n | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_voltage_ac_phase_a_n | None | voltage | InverterSN | inverter_1phase | V | phase_voltage_an | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Voltage AC - Phase A-N | Phase Voltage AN | m103_1_PhVphA | Vgrid | M103 | PhVphA | AC Voltage Phase A-N | TRUE | TRUE | Inverter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_reactive_power_grid_connection | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_reactive_power_grid_connection | None | reactive_power | InverterSN | inverter_1phase | var | var | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Reactive Power - Grid Connection | VAr | N/A | Qgrid | M103 | VAr | Reactive power at grid connection point | TRUE | TRUE | Inverter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_frequency_ac_grid | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_frequency_ac_grid | None | frequency | InverterSN | inverter_1phase | Hz | hz | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Frequency AC - Grid | Hz | m103_1_Hz | Fgrid | M103 | Hz | Grid frequency | TRUE | TRUE | Inverter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_power_peak | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_power_peak | None | power | InverterSN | inverter_1phase | W | ppeak | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Power - Peak | Ppeak | N/A | Ppeak | VSN700-only | Ppeak | Maximum instantaneous power | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_power_factor | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_power_factor | None | power_factor | InverterSN | inverter_1phase | None | cos_phi | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Power Factor | Cos Phi | N/A | cosPhi | VSN700-only | cosPhi | Power factor (cosine phi) | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_split_phase_configuration_flag | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_split_phase_configuration_flag | None | None | InverterSN | inverter_1phase | None | split_phase | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Split-phase configuration flag | Split Phase | N/A | SplitPhase | ABB Proprietary | SplitPhase | Split-phase configuration flag | FALSE | TRUE | System
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_voltage_ac_phase_a_n_2 | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_voltage_ac_phase_a_n_2 | None | voltage | InverterSN | inverter_1phase | V | vgrid_l1_n | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Voltage AC - Phase A-N | Vgrid L1 N | N/A | VgridL1_N | VSN700-only | VgridL1_N | AC Voltage Phase A-N | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_voltage_ac_phase_b_n | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_voltage_ac_phase_b_n | None | voltage | InverterSN | inverter_1phase | V | vgrid_l2_n | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Voltage AC - Phase B-N | Vgrid L2 N | N/A | VgridL2_N | VSN700-only | VgridL2_N | AC Voltage Phase B-N | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_power_ac_export_to_grid | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_power_ac_export_to_grid | None | power | InverterSN | inverter_1phase | W | pac_togrid | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Power AC - Export to Grid | PAC Togrid | N/A | PacTogrid | VSN700-only | PacTogrid | AC power exported to grid | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_power_ac_stand_alone_mode | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_power_ac_stand_alone_mode | None | power | InverterSN | inverter_1phase | W | pac_stand_alone | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Power AC - Stand Alone Mode | PAC Stand Alone | N/A | PacStandAlone | VSN700-only | PacStandAlone | AC power in stand-alone (off-grid) mode | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_temperature_sensor_1 | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_temperature_sensor_1 | None | temperature | InverterSN | inverter_1phase | °F | temp1 | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Temperature - Sensor 1 | Temp1 | N/A | Temp1 | VSN700-only | Temp1 | Additional temperature sensor 1 | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_temperature_inverter | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_temperature_inverter | None | temperature | InverterSN | inverter_1phase | °F | temp_inv | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Temperature - Inverter | Temp Inv | N/A | TempInv | VSN700-only | TempInv | Inverter internal temperature | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_temperature_booster | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_temperature_booster | None | temperature | InverterSN | inverter_1phase | °F | temp_bst | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Temperature - Booster | Temp Bst | N/A | TempBst | VSN700-only | TempBst | DC-DC boost converter temperature | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_voltage_dc_bulk_capacitor | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_voltage_dc_bulk_capacitor | None | voltage | InverterSN | inverter_1phase | V | v_bulk | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Voltage DC - Bulk Capacitor | V Bulk | m64061_1_VBulk | VBulk | M64061 | VBulk | DC Voltage (Bulk Capacitor) | TRUE | TRUE | Inverter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_voltage_dc_bus_midpoint | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_voltage_dc_bus_midpoint | None | voltage | InverterSN | inverter_1phase | V | v_bulk_mid | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Voltage DC - Bus Midpoint | V Bulk Mid | m64061_1_VBulkMid | VBulkMid | M64061 | VBulkMid | DC bus bulk capacitor midpoint voltage | TRUE | TRUE | Inverter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_resistance_insulation | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_resistance_insulation | None | None | InverterSN | inverter_1phase | None | riso | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Resistance - Insulation | Riso | N/A | Riso | VSN700-only | Riso | DC insulation resistance to ground | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_current_inverter_leakage | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_current_inverter_leakage | None | None | InverterSN | inverter_1phase | None | ileak_inv | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Current - Inverter Leakage | Ileak Inv | N/A | IleakInv | VSN700-only | IleakInv | Inverter ground fault leakage current | FALSE | TRUE | Datalogger | current
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_current_dc_leakage | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_current_dc_leakage | None | None | InverterSN | inverter_1phase | None | ileak_d_c | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Current DC - Leakage | Ileak D C | N/A | IleakDC | VSN700-only | IleakDC | DC side ground fault leakage current | FALSE | TRUE | Datalogger | current
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_voltage_ground | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_voltage_ground | None | voltage | InverterSN | inverter_1phase | V | vgnd | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Voltage - Ground | Vgnd | N/A | Vgnd | VSN700-only | Vgnd | Voltage to ground reference | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_system_time | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_system_time | mdi:information-box-outline | None | InverterSN | inverter_1phase | None | sys_time | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) System Time | Sys Time | m64061_1_SysTime | SysTime | M64061, ABB Proprietary | SysTime | Inverter system timestamp | FALSE | TRUE | System | timestamp
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_global_operational_state | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_global_operational_state | None | None | InverterSN | inverter_1phase | None | glob_state | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Global operational state | Glob State | N/A | GlobState | VSN700-only | GlobState | Global operational state | FALSE | TRUE | Status
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_alarm_state | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_alarm_state | None | None | InverterSN | inverter_1phase | None | alarm_state | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Alarm State | Alarm State | N/A | AlarmState | M64061 | AlarmState | Alarm State | TRUE | TRUE | Status
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_dc_input_1_state | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_dc_input_1_state | None | None | InverterSN | inverter_1phase | None | d_c1_state | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) DC Input 1 State | DC1 State | N/A | DC1State | VSN700-only | DC1State | DC string 1 operating state | FALSE | TRUE | Status
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_dc_input_2_state | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_dc_input_2_state | None | None | InverterSN | inverter_1phase | None | d_c2_state | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) DC Input 2 State | DC2 State | N/A | DC2State | VSN700-only | DC2State | DC string 2 operating state | FALSE | TRUE | Status
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_inverter_state | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_inverter_state | None | None | InverterSN | inverter_1phase | None | inv_state | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Inverter State | Inv State | N/A | InvState | VSN700-only | InvState | Current operational state of inverter | FALSE | TRUE | Status
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_warning_flags | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_warning_flags | None | None | InverterSN | inverter_1phase | None | warning_flags | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Warning Flags | Warning Flags | N/A | WarningFlags | VSN700-only | WarningFlags | Active warning condition flags | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_ac_power_derating_flags | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_ac_power_derating_flags | None | None | InverterSN | inverter_1phase | None | pac_derating_flags | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) AC Power Derating Flags | PAC Derating Flags | N/A | PACDeratingFlags | VSN700-only | PACDeratingFlags | AC power derating active condition flags | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_reactive_power_derating | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_reactive_power_derating | None | None | InverterSN | inverter_1phase | None | qac_derating_flags | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Reactive Power Derating | QAC Derating Flags | N/A | QACDeratingFlags | VSN700-only | QACDeratingFlags | Reactive power AC derating flags | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_apparent_power_derating | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_apparent_power_derating | None | None | InverterSN | inverter_1phase | None | sac_derating_flags | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Apparent Power Derating | SAC Derating Flags | N/A | SACDeratingFlags | VSN700-only | SACDeratingFlags | Apparent power AC derating flags | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_fault_ride_through_frt_status | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_fault_ride_through_frt_status | None | None | InverterSN | inverter_1phase | None | frt_state | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Fault Ride Through (FRT) status | FRT State | N/A | FRT_state | VSN700-only | FRT_state | Fault Ride Through (FRT) status | FALSE | TRUE | Status
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_clock_state | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_clock_state | None | None | InverterSN | inverter_1phase | None | clock_state | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Clock State | Clock State | N/A | ClockState | VSN700-only | ClockState | Clock State | FALSE | TRUE | Status
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_model_126_enabled | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_model_126_enabled | None | None | InverterSN | inverter_1phase | None | m126_mod_ena | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Model 126 Enabled | M126 Mod Ena | N/A | m126Mod_Ena | VSN700-only | m126Mod_Ena | SunSpec Model 126 module enabled | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_model_132_enabled | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_model_132_enabled | None | None | InverterSN | inverter_1phase | None | m132_mod_ena | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Model 132 Enabled | M132 Mod Ena | N/A | m132Mod_Ena | VSN700-only | m132Mod_Ena | SunSpec Model 132 module enabled | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_speed_fan_1 | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_speed_fan_1 | None | None | InverterSN | inverter_1phase | RPM | fan1rpm | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Speed - Fan 1 | Fan1Rpm | N/A | Fan1rpm | VSN700-only | Fan1rpm | Cooling fan 1 speed in RPM | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_speed_fan_2 | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_speed_fan_2 | None | None | InverterSN | inverter_1phase | RPM | fan2rpm | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Speed - Fan 2 | Fan2Rpm | N/A | Fan2rpm | VSN700-only | Fan2rpm | Cooling fan 2 speed in RPM | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_produced_since_restart | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_produced_since_restart | None | energy | InverterSN | inverter_1phase | Wh | e0_lifetime | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy AC - Produced Since Restart | E0 Lifetime | N/A | E0_runtime | VSN700-only | E0_runtime | Inverter AC energy produced - Since Restart | FALSE | TRUE | Energy Counter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_produced_last_7_days | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_produced_last_7_days | None | energy | InverterSN | inverter_1phase | Wh | e0_last_week | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy AC - Produced Last 7 Days | E0 Last Week | N/A | E0_7D | VSN700-only | E0_7D | Inverter AC energy produced - Last 7 Days | FALSE | TRUE | Energy Counter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_produced_last_30_days | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_produced_last_30_days | None | energy | InverterSN | inverter_1phase | Wh | e0_last_month | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy AC - Produced Last 30 Days | E0 Last Month | N/A | E0_30D | VSN700-only | E0_30D | Inverter AC energy produced - Last 30 Days | FALSE | TRUE | Energy Counter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_produced_last_year | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_produced_last_year | None | energy | InverterSN | inverter_1phase | Wh | e0_1_year | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy AC - Produced Last Year | E0 1 Year | N/A | E0_1Y | VSN700-only | E0_1Y | Inverter AC energy produced - Last Year | FALSE | TRUE | Energy Counter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_absorbed_since_restart | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_absorbed_since_restart | None | energy | InverterSN | inverter_1phase | Wh | e1_lifetime | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy AC - Absorbed Since Restart | E1 Lifetime | N/A | E1_runtime | VSN700-only | E1_runtime | Inverter absorbed AC energy - Since Restart | FALSE | TRUE | Energy Counter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_absorbed_last_7_days | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_absorbed_last_7_days | None | energy | InverterSN | inverter_1phase | Wh | e1_last_week | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy AC - Absorbed Last 7 Days | E1 Last Week | N/A | E1_7D | VSN700-only | E1_7D | Inverter absorbed AC energy - Last 7 Days | FALSE | TRUE | Energy Counter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_absorbed_last_30_days | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_absorbed_last_30_days | None | energy | InverterSN | inverter_1phase | Wh | e1_last_month | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy AC - Absorbed Last 30 Days | E1 Last Month | N/A | E1_30D | VSN700-only | E1_30D | Inverter absorbed AC energy - Last 30 Days | FALSE | TRUE | Energy Counter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_apparent_since_restart | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_apparent_since_restart | mdi:lightning-bolt | None | InverterSN | inverter_1phase | VAh | e2_lifetime | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy AC Apparent - Since Restart | E2 Lifetime | N/A | E2_runtime | VSN700-only | E2_runtime | Inverter apparent AC energy - Since Restart | FALSE | TRUE | Energy Counter | energy
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_apparent_last_7_days | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_apparent_last_7_days | mdi:lightning-bolt | None | InverterSN | inverter_1phase | VAh | e2_last_week | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy AC Apparent - Last 7 Days | E2 Last Week | N/A | E2_7D | VSN700-only | E2_7D | Inverter apparent AC energy - Last 7 Days | FALSE | TRUE | Energy Counter | energy
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_apparent_last_30_days | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_apparent_last_30_days | mdi:lightning-bolt | None | InverterSN | inverter_1phase | VAh | e2_last_month | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy AC Apparent - Last 30 Days | E2 Last Month | N/A | E2_30D | VSN700-only | E2_30D | Inverter apparent AC energy - Last 30 Days | FALSE | TRUE | Energy Counter | energy
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_self_consumed_energy_since_restart | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_self_consumed_energy_since_restart | None | None | InverterSN | inverter_1phase | None | e4_lifetime | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Self-consumed energy - Since Restart | E4 Lifetime | N/A | E4_runtime | VSN700-only | E4_runtime | Self-consumed energy - Since Restart | FALSE | TRUE | Energy Counter | energy
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_self_consumed_energy_last_7_days | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_self_consumed_energy_last_7_days | None | None | InverterSN | inverter_1phase | None | e4_last_week | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Self-consumed energy - Last 7 Days | E4 Last Week | N/A | E4_7D | VSN700-only | E4_7D | Self-consumed energy - Last 7 Days | FALSE | TRUE | Energy Counter | energy
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_self_consumed_energy_last_30_days | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_self_consumed_energy_last_30_days | None | None | InverterSN | inverter_1phase | None | e4_last_month | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Self-consumed energy - Last 30 Days | E4 Last Month | N/A | E4_30D | VSN700-only | E4_30D | Self-consumed energy - Last 30 Days | FALSE | TRUE | Energy Counter | energy
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_battery_charge_since_restart | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_battery_charge_since_restart | None | None | InverterSN | inverter_1phase | None | e5_lifetime | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy - Battery Charge Since Restart | E5 Lifetime | N/A | E5_runtime | VSN700-only | E5_runtime | Battery charge energy - Since Restart | FALSE | TRUE | Energy Counter | energy
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_battery_charge_last_7_days | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_battery_charge_last_7_days | None | None | InverterSN | inverter_1phase | None | e5_last_week | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy - Battery Charge Last 7 Days | E5 Last Week | N/A | E5_7D | VSN700-only | E5_7D | Battery charge energy - Last 7 Days | FALSE | TRUE | Energy Counter | energy
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_battery_charge_last_30_days | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_battery_charge_last_30_days | None | None | InverterSN | inverter_1phase | None | e5_last_month | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy - Battery Charge Last 30 Days | E5 Last Month | N/A | E5_30D | VSN700-only | E5_30D | Battery charge energy - Last 30 Days | FALSE | TRUE | Energy Counter | energy
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_backup_output_since_restart | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_backup_output_since_restart | None | energy | InverterSN | inverter_1phase | Wh | e15_lifetime | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy AC - Backup Output Since Restart | E15 Lifetime | N/A | E15_runtime | VSN700-only | E15_runtime | Inverter backup output energy - Since Restart | FALSE | TRUE | Energy Counter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_backup_output_last_7_days | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_backup_output_last_7_days | None | energy | InverterSN | inverter_1phase | Wh | e15_last_week | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy AC - Backup Output Last 7 Days | E15 Last Week | N/A | E15_7D | VSN700-only | E15_7D | Inverter backup output energy - Last 7 Days | FALSE | TRUE | Energy Counter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_backup_output_last_30_days | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_backup_output_last_30_days | None | energy | InverterSN | inverter_1phase | Wh | e15_last_month | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy AC - Backup Output Last 30 Days | E15 Last Month | N/A | E15_30D | VSN700-only | E15_30D | Inverter backup output energy - Last 30 Days | FALSE | TRUE | Energy Counter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_dc_pv_input_since_restart | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_dc_pv_input_since_restart | None | energy | InverterSN | inverter_1phase | Wh | ein_lifetime | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy DC - PV Input Since Restart | Ein Lifetime | N/A | Ein_runtime | VSN700-only | Ein_runtime | Inverter PV energy (DC input) - Since Restart | FALSE | TRUE | Energy Counter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_dc_pv_input_last_7_days | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_dc_pv_input_last_7_days | None | energy | InverterSN | inverter_1phase | Wh | ein_last_week | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy DC - PV Input Last 7 Days | Ein Last Week | N/A | Ein_7D | VSN700-only | Ein_7D | Inverter PV energy (DC input) - Last 7 Days | FALSE | TRUE | Energy Counter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_dc_pv_input_last_30_days | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_dc_pv_input_last_30_days | None | energy | InverterSN | inverter_1phase | Wh | ein_last_month | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy DC - PV Input Last 30 Days | Ein Last Month | N/A | Ein_30D | VSN700-only | Ein_30D | Inverter PV energy (DC input) - Last 30 Days | FALSE | TRUE | Energy Counter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_dc_pv_input_lifetime | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_dc_pv_input_lifetime | None | energy | InverterSN | inverter_1phase | kWh | ein | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy DC - PV Input Lifetime | Ein | N/A | Ein | VSN700-only | Ein | Inverter PV energy (DC input) - Lifetime | FALSE | TRUE | Energy Counter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_produced_lifetime | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_produced_lifetime | None | energy | InverterSN | inverter_1phase | kWh | e_total | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy AC - Produced Lifetime | E Total | N/A | ETotal | VSN700-only | ETotal | Inverter AC energy produced - Lifetime | FALSE | TRUE | Energy Counter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_absorbed_lifetime | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_absorbed_lifetime | None | energy | InverterSN | inverter_1phase | kWh | e_total_absorbed | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy AC - Absorbed Lifetime | E Total Absorbed | N/A | ETotalAbsorbed | VSN700-only | ETotalAbsorbed | Inverter absorbed AC energy - Lifetime | FALSE | TRUE | Energy Counter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_apparent_lifetime | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_apparent_lifetime | None | energy | InverterSN | inverter_1phase | kVAh | e_total_apparent | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy AC Apparent - Lifetime | E Total Apparent | N/A | ETotalApparent | VSN700-only | ETotalApparent | Inverter apparent AC energy - Lifetime | FALSE | TRUE | Energy Counter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_dc_energy_string_1_lifetime | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_dc_energy_string_1_lifetime | None | None | InverterSN | inverter_1phase | None | ein1 | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) DC energy (String 1) - Lifetime | Ein1 | N/A | Ein1 | VSN700-only | Ein1 | DC energy (String 1) - Lifetime | FALSE | TRUE | Energy Counter | energy
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_dc_energy_string_2_lifetime | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_dc_energy_string_2_lifetime | None | None | InverterSN | inverter_1phase | None | ein2 | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) DC energy (String 2) - Lifetime | Ein2 | N/A | Ein2 | VSN700-only | Ein2 | DC energy (String 2) - Lifetime | FALSE | TRUE | Energy Counter | energy
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_backup_output_lifetime | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_ac_backup_output_lifetime | None | None | InverterSN | inverter_1phase | None | e_backup | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy AC - Backup Output Lifetime | E Backup | N/A | EBackup | VSN700-only | EBackup | Inverter backup output energy - Lifetime | FALSE | TRUE | Energy Counter | energy
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_detected_battery_number | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_detected_battery_number | None | None | InverterSN | inverter_1phase | None | detected_battery_number | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Detected Battery Number | Detected Battery Number | N/A | DetectedBatteryNumber | VSN700-only | DetectedBatteryNumber | Detected Battery Number | FALSE | TRUE | Battery
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_power_battery_total | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_power_battery_total | None | power | InverterSN | inverter_1phase | W | pba_t | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Power - Battery Total | Pba T | N/A | PbaT | VSN700-only | PbaT | Battery power - Total | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_battery_state_of_charge | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_battery_state_of_charge | None | None | InverterSN | inverter_1phase | None | t_soc | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Battery State of Charge | T Soc | N/A | TSoc | VSN700-only | TSoc | Battery state of charge percentage | FALSE | TRUE | Battery | battery
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_policy | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_policy | None | None | InverterSN | inverter_1phase | None | energy_policy | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy Policy | Energy Policy | N/A | EnergyPolicy | VSN700-only | EnergyPolicy | Energy Policy | FALSE | TRUE | Energy Counter
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_battery_mode | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_battery_mode | None | None | InverterSN | inverter_1phase | None | battery_mode | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Battery Mode | Battery Mode | N/A | BatteryMode | M64061 | BatteryMode | Battery Mode | TRUE | TRUE | Status
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_battery_discharge_total_since_restart | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_battery_discharge_total_since_restart | None | energy | InverterSN | inverter_1phase | Wh | e_tot_discharge_lifetime | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy - Battery Discharge Total Since Restart | E Tot Discharge Lifetime | N/A | ETotDischarge_runtime | VSN700-only | ETotDischarge_runtime | Total battery discharge energy - Since Restart | FALSE | TRUE | Battery
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_battery_discharge_total_last_7_days | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_battery_discharge_total_last_7_days | None | energy | InverterSN | inverter_1phase | Wh | e_tot_discharge_last_week | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy - Battery Discharge Total Last 7 Days | E Tot Discharge Last Week | N/A | ETotDischarge_7D | VSN700-only | ETotDischarge_7D | Total battery discharge energy - Last 7 Days | FALSE | TRUE | Battery
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_battery_discharge_total_last_30_days | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_battery_discharge_total_last_30_days | None | energy | InverterSN | inverter_1phase | Wh | e_tot_discharge_last_month | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy - Battery Discharge Total Last 30 Days | E Tot Discharge Last Month | N/A | ETotDischarge_30D | VSN700-only | ETotDischarge_30D | Total battery discharge energy - Last 30 Days | FALSE | TRUE | Battery
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_battery_charge_total_since_restart | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_battery_charge_total_since_restart | None | energy | InverterSN | inverter_1phase | Wh | e_tot_charge_lifetime | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy - Battery Charge Total Since Restart | E Tot Charge Lifetime | N/A | ETotCharge_runtime | VSN700-only | ETotCharge_runtime | Total battery charge energy - Since Restart | FALSE | TRUE | Battery
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_battery_charge_total_last_7_days | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_battery_charge_total_last_7_days | None | energy | InverterSN | inverter_1phase | Wh | e_tot_charge_last_week | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy - Battery Charge Total Last 7 Days | E Tot Charge Last Week | N/A | ETotCharge_7D | VSN700-only | ETotCharge_7D | Total battery charge energy - Last 7 Days | FALSE | TRUE | Battery
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_battery_charge_total_last_30_days | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_energy_battery_charge_total_last_30_days | None | energy | InverterSN | inverter_1phase | Wh | e_tot_charge_last_month | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Energy - Battery Charge Total Last 30 Days | E Tot Charge Last Month | N/A | ETotCharge_30D | VSN700-only | ETotCharge_30D | Total battery charge energy - Last 30 Days | FALSE | TRUE | Battery
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_digital_input_0_mode | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_digital_input_0_mode | None | None | InverterSN | inverter_1phase | None | di0_mode | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Digital Input 0 Mode | DI0 Mode | N/A | DI0_mode | VSN700-only | DI0_mode | Operating mode configuration for digital input 0 | FALSE | TRUE | System Monitoring
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_digital_input_1_mode | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_digital_input_1_mode | None | None | InverterSN | inverter_1phase | None | di1_mode | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Digital Input 1 Mode | DI1 Mode | N/A | DI1_mode | VSN700-only | DI1_mode | Operating mode configuration for digital input 1 | FALSE | TRUE | System Monitoring
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_digital_input_status | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_digital_input_status | None | None | InverterSN | inverter_1phase | None | di_status | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Digital Input Status | DI Status | N/A | DI_status | VSN700-only | DI_status | Digital input status register | FALSE | TRUE | Status
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_grid_external_control_state | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_grid_external_control_state | None | None | InverterSN | inverter_1phase | None | grid_ext_ctrl_state | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Grid External Control State | Grid Ext Ctrl State | N/A | gridExtCtrlState | VSN700-only | gridExtCtrlState | External grid control current state | FALSE | TRUE | Status
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_grid_external_control_enabled | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_grid_external_control_enabled | None | None | InverterSN | inverter_1phase | None | grid_ext_ctrl_ena | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Grid External Control Enabled | Grid Ext Ctrl Ena | N/A | gridExtCtrlEna | VSN700-only | gridExtCtrlEna | External grid control enabled status | FALSE | TRUE | Datalogger
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_battery_control_state | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_battery_control_state | None | None | InverterSN | inverter_1phase | None | batt_ext_ctrl_state | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Battery Control State | Batt Ext Ctrl State | N/A | BattExtCtrlState | VSN700-only | BattExtCtrlState | Battery external control state | FALSE | TRUE | Battery
sensor.abb_fimer_inverter_react2_5_0_tl_InverterSN_battery_control_enabled | sensor | abb_fimer_inverter_react2_5_0_tl_InverterSN_battery_control_enabled | None | None | InverterSN | inverter_1phase | None | batt_ext_ctrl_ena | ABB/FIMER Inverter REACT2-5.0-TL (InverterSN) Battery Control Enabled | Batt Ext Ctrl Ena | N/A | BattExtCtrlEna | VSN700-only | BattExtCtrlEna | Battery external control enabled flag | FALSE | TRUE | Battery