## Full Mapping
REST Name (VSN700) | REST Name (VSN300) | SunSpec Normalized Name | HA Name | HA Display Name | Category | HA Device Class | HA Unit of Measurement | HA State Class | Suggested Display Precision | In /livedata | In /feeds | Available in Modbus | Description | Models
N/A | m64061_1_AlarmSt | AlarmSt | alarm_st | Alarm Status | Status |  |  |  | 0 | ✓ |  | TRUE | Current alarm status code | M64061
AlarmState | N/A | AlarmState | alarm_state | Alarm State | Status |  |  |  | 0 | ✓ |  | FALSE | Alarm State | M64061
Igrid | m103_1_A | A | amps | Current AC | Inverter | current | A | measurement | 2 | ✓ |  | TRUE | AC Current | M103
N/A | m103_1_AphA | AphA | amps_phasea | Current AC - Phase A | Inverter | current | A | measurement | 2 | ✓ | ✓ | TRUE | Phase A Current | M103
N/A | m103_1_AphB | AphB | amps_phaseb | Current AC - Phase B | Inverter | current | A | measurement | 2 | ✓ | ✓ | TRUE | Phase B Current | M103
N/A | m103_1_AphC | AphC | amps_phasec | Current AC - Phase C | Inverter | current | A | measurement | 2 | ✓ | ✓ | TRUE | Phase C Current | M103
BattExtCtrlEna | N/A | BattExtCtrlEna | batt_ext_ctrl_ena | Battery Control Enabled | Battery |  |  |  | 0 | ✓ |  | FALSE | Battery external control enabled flag | VSN700-only
BattExtCtrlState | N/A | BattExtCtrlState | batt_ext_ctrl_state | Battery Control State | Battery |  |  |  | 0 | ✓ |  | FALSE | Battery external control state | VSN700-only
BattNum | N/A | BattNum | batt_num | Number of battery cells or modules | System |  |  |  | 0 | ✓ |  | FALSE | Number of battery cells or modules | ABB Proprietary
BatteryMode | N/A | BatteryMode | battery_mode | Battery Mode | Status |  |  |  | 0 | ✓ |  | FALSE | Battery Mode | M64061
N/A | m64061_1_Booster_Tmp | Booster_Tmp | booster_tmp | Temperature - Booster | Inverter | temperature | °C | measurement | 1 | ✓ | ✓ | TRUE | Booster stage temperature | M64061
N/A | m103_1_TmpCab | TmpCab | cabinet_temperature | Temperature - Cabinet | Inverter | temperature | °C | measurement | 1 | ✓ | ✓ | TRUE | Cabinet Temperature | M103
Chc | N/A | Chc | chc | Battery charge cycles counter | System |  |  |  | 0 | ✓ |  | FALSE | Battery charge cycles counter | ABB Proprietary
ClockState | N/A | ClockState | clock_state | Clock State | Status |  |  |  | 0 | ✓ |  | FALSE | Clock State | VSN700-only
CommissioningFreeze | N/A | CommissioningFreeze | commissioning_freeze | Commissioning Freeze | Datalogger |  |  |  | 0 | ✓ |  | FALSE | Commissioning Freeze | VSN700-only
N/A | device_protocol | device_protocol | communication_protocol | Communication Protocol | Device Info |  |  |  | 0 |  |  | FALSE | Communication Protocol | VSN300-only
cosPhi | N/A | cosPhi | cos_phi | Power Factor | Datalogger | power_factor |  | measurement | 0 | ✓ | ✓ | FALSE | Power factor (cosine phi) | VSN700-only
CountryStd | CountryStd | CountryStd | country_std | Country grid standard setting | System |  |  |  | 0 | ✓ |  | FALSE | Country grid standard setting | ABB Proprietary
CycleNum | N/A | CycleNum | cycle_num | Count - Battery Cycles | Datalogger |  | cycles | total | 0 | ✓ |  | FALSE | Battery charge/discharge cycle count | VSN700-only
DC1State | N/A | DC1State | d_c1_state | DC Input 1 State | Status |  |  |  | 0 | ✓ |  | FALSE | DC string 1 operating state | VSN700-only
DC2State | N/A | DC2State | d_c2_state | DC Input 2 State | Status |  |  |  | 0 | ✓ |  | FALSE | DC string 2 operating state | VSN700-only
N/A | m64061_1_DayWH | DayWH | day_wh | Energy - Today | Energy Counter | energy | Wh | total | 2 | ✓ | ✓ | TRUE | Energy - Today | M64061
N/A | m160_1_DCA_1 | DCA_1 | dc_current_1 | Current DC - String 1 | Inverter | current | A | measurement | 2 | ✓ | ✓ | TRUE | DC Current (String 1) | M160
N/A | m160_1_DCA_2 | DCA_2 | dc_current_2 | Current DC - String 2 | Inverter | current | A | measurement | 2 | ✓ | ✓ | TRUE | DC Current (String 2) | M160
N/A | m160_1_DCW_1 | DCW_1 | dc_power_1 | Power DC - String 1 | Inverter | power | W | measurement | 0 | ✓ | ✓ | TRUE | DC Power (String 1) | M160
N/A | m160_1_DCW_2 | DCW_2 | dc_power_2 | Power DC - String 2 | Inverter | power | W | measurement | 0 | ✓ | ✓ | TRUE | DC Power (String 2) | M160
N/A | m64061_1_DcSt1 | DcSt1 | dc_st1 | DC Input 1 Status | Inverter |  |  |  | 0 | ✓ |  | TRUE | DC string 1 connection status | M64061
N/A | m64061_1_DcSt2 | DcSt2 | dc_st2 | DC Input 2 Status | Inverter |  |  |  | 0 | ✓ |  | TRUE | DC string 2 connection status | M64061
N/A | m160_1_DCV_1 | DCV_1 | dc_voltage_1 | Voltage DC - String 1 | Inverter | voltage | V | measurement | 1 | ✓ | ✓ | TRUE | DC Voltage (String 1) | M160
N/A | m160_1_DCV_2 | DCV_2 | dc_voltage_2 | Voltage DC - String 2 | Inverter | voltage | V | measurement | 1 | ✓ | ✓ | TRUE | DC Voltage (String 2) | M160
N/A | m103_1_DCW | DCW | dc_watts | Power DC | Inverter | power | W | measurement | 0 | ✓ | ✓ | TRUE | DC Power | M103
DetectedBatteryNumber | N/A | DetectedBatteryNumber | detected_battery_number | Detected Battery Number | Battery |  |  |  | 0 | ✓ |  | FALSE | Detected Battery Number | VSN700-only
C_DA | C_DA | DA | device_address | Modbus address | Inverter |  |  |  | 0 |  |  | TRUE | Device Modbus address | M1
N/A | device_0_devName | device_0_devName | device_name | Device 0 Name | Device Info |  |  |  | 0 |  |  | FALSE | Device 0 component name | VSN300-only
N/A | device_1_devName | device_1_devName | device_name | Device 1 Name | Device Info |  |  |  | 0 |  |  | FALSE | Device 1 component name | VSN300-only
N/A | device_2_devName | device_2_devName | device_name | Device 2 Name | Device Info |  |  |  | 0 |  |  | FALSE | Device 2 component name | VSN300-only
N/A | device_0_devType | device_0_devType | device_type | Device 0 Type | Device Info |  |  |  | 0 |  |  | FALSE | Device 0 component type | VSN300-only
N/A | device_1_devType | device_1_devType | device_type | Device 1 Type | Device Info |  |  |  | 0 |  |  | FALSE | Device 1 component type | VSN300-only
N/A | device_2_devType | device_2_devType | device_type | Device 2 Type | Device Info |  |  |  | 0 |  |  | FALSE | Device 2 component type | VSN300-only
Dhc | N/A | Dhc | dhc | Battery discharge cycles counter | System |  |  |  | 0 | ✓ |  | FALSE | Battery discharge cycles counter | ABB Proprietary
DI_status | N/A | DI_status | di_status | Digital Input Status | Status |  |  |  | 0 | ✓ |  | FALSE | Digital input status register | VSN700-only
DI0_mode | N/A | DI0_mode | di0_mode | Digital Input 0 Mode | System Monitoring |  |  |  | 0 | ✓ |  | FALSE | Operating mode configuration for digital input 0 | VSN700-only
DI1_mode | N/A | DI1_mode | di1_mode | Digital Input 1 Mode | System Monitoring |  |  |  | 0 | ✓ |  | FALSE | Operating mode configuration for digital input 1 | VSN700-only
DynamicFeedInCtrl | N/A | DynamicFeedInCtrl | dynamic_feed_in_ctrl | Dynamic Feed In Ctrl | Datalogger |  |  |  | 0 | ✓ |  | FALSE | Dynamic Feed In Ctrl | VSN700-only
EBackup | N/A | EBackup | e_backup | Energy AC - Backup Output Lifetime | Energy Counter | energy | Wh | total_increasing | 2 | ✓ |  | FALSE | Inverter backup output energy - Lifetime | VSN700-only
ECharge | N/A | ECharge | e_charge | Energy - Battery Charge Lifetime | Status | energy | kWh | total_increasing | 2 | ✓ |  | FALSE | Battery charge energy - Lifetime | M64061
ECharge_30D | N/A | ECharge_30D | e_charge_last_month | Energy - Battery Charge Last 30 Days | Battery | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Battery charge energy - Last 30 Days | VSN700-only
ECharge_7D | N/A | ECharge_7D | e_charge_last_week | Energy - Battery Charge Last 7 Days | Battery | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Battery charge energy - Last 7 Days | VSN700-only
ECharge_runtime | N/A | ECharge_runtime | e_charge_lifetime | Energy - Battery Charge Since Restart | Battery | energy | Wh | total_increasing | 2 | ✓ | ✓ | FALSE | Battery charge energy - Since Restart | VSN700-only
ECt | N/A | ECt | e_ct | Total energy from current transformer (CT) | Energy Counter | energy | Wh | total_increasing | 2 | ✓ |  | FALSE | Total energy from current transformer (CT) | VSN700-only
EDischarge | N/A | EDischarge | e_discharge | Energy - Battery Discharge Lifetime | Status | energy | kWh | total_increasing | 2 | ✓ |  | FALSE | Battery discharge energy - Lifetime | M64061
EDischarge_30D | N/A | EDischarge_30D | e_discharge_last_month | Energy - Battery Discharge Last 30 Days | Battery | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Battery discharge energy - Last 30 Days | VSN700-only
EDischarge_7D | N/A | EDischarge_7D | e_discharge_last_week | Energy - Battery Discharge Last 7 Days | Battery | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Battery discharge energy - Last 7 Days | VSN700-only
EDischarge_runtime | N/A | EDischarge_runtime | e_discharge_lifetime | Energy - Battery Discharge Since Restart | Battery | energy | Wh | total_increasing | 2 | ✓ | ✓ | FALSE | Battery discharge energy - Since Restart | VSN700-only
EDt | N/A | EDt | e_dt | Total energy from direct transducer (DT) | Energy Counter | energy | Wh | total_increasing | 2 | ✓ |  | FALSE | Total energy from direct transducer (DT) | VSN700-only
EGridExport | N/A | EGridExport | e_grid_export | Energy AC - Grid Export Lifetime | Energy Counter | energy | kWh | total_increasing | 2 | ✓ | ✓ | FALSE | Energy exported to grid - Lifetime | VSN700-only
EGridImport | N/A | EGridImport | e_grid_import | Energy AC - Grid Import Lifetime | Energy Counter | energy | kWh | total_increasing | 2 | ✓ | ✓ | FALSE | Energy imported from grid - Lifetime | VSN700-only
ETotCharge | N/A | ETotCharge | e_tot_charge | Energy - Battery Charge Total Lifetime | Battery | energy | kWh | total_increasing | 2 |  | ✓ | FALSE | Total battery charge energy - Lifetime | VSN700-only
ETotCharge_30D | N/A | ETotCharge_30D | e_tot_charge_last_month | Energy - Battery Charge Total Last 30 Days | Battery | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Total battery charge energy - Last 30 Days | VSN700-only
ETotCharge_7D | N/A | ETotCharge_7D | e_tot_charge_last_week | Energy - Battery Charge Total Last 7 Days | Battery | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Total battery charge energy - Last 7 Days | VSN700-only
ETotCharge_runtime | N/A | ETotCharge_runtime | e_tot_charge_lifetime | Energy - Battery Charge Total Since Restart | Battery | energy | Wh | total_increasing | 2 | ✓ | ✓ | FALSE | Total battery charge energy - Since Restart | VSN700-only
ETotDischarge | N/A | ETotDischarge | e_tot_discharge | Energy - Battery Discharge Total Lifetime | Battery | energy | kWh | total_increasing | 2 |  | ✓ | FALSE | Total battery discharge energy - Lifetime | VSN700-only
ETotDischarge_30D | N/A | ETotDischarge_30D | e_tot_discharge_last_month | Energy - Battery Discharge Total Last 30 Days | Battery | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Total battery discharge energy - Last 30 Days | VSN700-only
ETotDischarge_7D | N/A | ETotDischarge_7D | e_tot_discharge_last_week | Energy - Battery Discharge Total Last 7 Days | Battery | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Total battery discharge energy - Last 7 Days | VSN700-only
ETotDischarge_runtime | N/A | ETotDischarge_runtime | e_tot_discharge_lifetime | Energy - Battery Discharge Total Since Restart | Battery | energy | Wh | total_increasing | 2 | ✓ | ✓ | FALSE | Total battery discharge energy - Since Restart | VSN700-only
ETotal | N/A | ETotal | e_total | Energy AC - Produced Lifetime | Energy Counter | energy | kWh | total_increasing | 2 | ✓ | ✓ | FALSE | Inverter AC energy produced - Lifetime | VSN700-only
ETotalAbsorbed | N/A | ETotalAbsorbed | e_total_absorbed | Energy AC - Absorbed Lifetime | Energy Counter | energy | kWh | total_increasing | 2 | ✓ |  | FALSE | Inverter absorbed AC energy - Lifetime | VSN700-only
ETotalApparent | N/A | ETotalApparent | e_total_apparent | Energy AC Apparent - Lifetime | Energy Counter | energy | kVAh | total | 2 | ✓ |  | FALSE | Inverter apparent AC energy - Lifetime | VSN700-only
E0_1Y | N/A | E0_1Y | e0_1_year | Energy AC - Produced Last Year | Energy Counter | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Inverter AC energy produced - Last Year | VSN700-only
E0_30D | N/A | E0_30D | e0_last_month | Energy AC - Produced Last 30 Days | Energy Counter | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Inverter AC energy produced - Last 30 Days | VSN700-only
E0_7D | N/A | E0_7D | e0_last_week | Energy AC - Produced Last 7 Days | Energy Counter | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Inverter AC energy produced - Last 7 Days | VSN700-only
E0_runtime | N/A | E0_runtime | e0_lifetime | Energy AC - Produced Since Restart | Energy Counter | energy | Wh | total_increasing | 2 | ✓ | ✓ | FALSE | Inverter AC energy produced - Since Restart | VSN700-only
E1_30D | N/A | E1_30D | e1_last_month | Energy AC - Absorbed Last 30 Days | Energy Counter | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Inverter absorbed AC energy - Last 30 Days | VSN700-only
E1_7D | N/A | E1_7D | e1_last_week | Energy AC - Absorbed Last 7 Days | Energy Counter | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Inverter absorbed AC energy - Last 7 Days | VSN700-only
E1_runtime | N/A | E1_runtime | e1_lifetime | Energy AC - Absorbed Since Restart | Energy Counter | energy | Wh | total_increasing | 2 | ✓ | ✓ | FALSE | Inverter absorbed AC energy - Since Restart | VSN700-only
E15_30D | N/A | E15_30D | e15_last_month | Energy AC - Backup Output Last 30 Days | Energy Counter | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Inverter backup output energy - Last 30 Days | VSN700-only
E15_7D | N/A | E15_7D | e15_last_week | Energy AC - Backup Output Last 7 Days | Energy Counter | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Inverter backup output energy - Last 7 Days | VSN700-only
E15_runtime | N/A | E15_runtime | e15_lifetime | Energy AC - Backup Output Since Restart | Energy Counter | energy | Wh | total_increasing | 2 | ✓ | ✓ | FALSE | Inverter backup output energy - Since Restart | VSN700-only
E2_30D | N/A | E2_30D | e2_last_month | Energy AC Apparent - Last 30 Days | Energy Counter | apparent_power | VAh | total | 2 | ✓ | ✓ | FALSE | Inverter apparent AC energy - Last 30 Days | VSN700-only
E2_7D | N/A | E2_7D | e2_last_week | Energy AC Apparent - Last 7 Days | Energy Counter | apparent_power | VAh | total | 2 | ✓ | ✓ | FALSE | Inverter apparent AC energy - Last 7 Days | VSN700-only
E2_runtime | N/A | E2_runtime | e2_lifetime | Energy AC Apparent - Since Restart | Energy Counter | apparent_power | VAh | total_increasing | 2 | ✓ | ✓ | FALSE | Inverter apparent AC energy - Since Restart | VSN700-only
E3_30D | N/A | E3_30D | e3_last_month | Energy AC - Grid Export Last 30 Days | Energy Counter | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Energy exported to grid - Last 30 Days | VSN700-only
E3_7D | N/A | E3_7D | e3_last_week | Energy AC - Grid Export Last 7 Days | Energy Counter | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Energy exported to grid - Last 7 Days | VSN700-only
E3_runtime | N/A | E3_runtime | e3_lifetime | Energy AC - Grid Export Since Restart | Energy Counter | energy | Wh | total_increasing | 2 | ✓ | ✓ | FALSE | Energy exported to grid - Since Restart | VSN700-only
E4_30D | N/A | E4_30D | e4_last_month | Self-consumed energy - Last 30 Days | Energy Counter | energy | Wh | total_increasing | 2 | ✓ |  | FALSE | Self-consumed energy - Last 30 Days | VSN700-only
E4_7D | N/A | E4_7D | e4_last_week | Self-consumed energy - Last 7 Days | Energy Counter | energy | Wh | total_increasing | 2 | ✓ |  | FALSE | Self-consumed energy - Last 7 Days | VSN700-only
E4_runtime | N/A | E4_runtime | e4_lifetime | Self-consumed energy - Since Restart | Energy Counter | energy | Wh | total_increasing | 2 | ✓ |  | FALSE | Self-consumed energy - Since Restart | VSN700-only
E5_30D | N/A | E5_30D | e5_last_month | Energy - Battery Charge Last 30 Days | Energy Counter | energy | Wh | total_increasing | 2 | ✓ |  | FALSE | Battery charge energy - Last 30 Days | VSN700-only
E5_7D | N/A | E5_7D | e5_last_week | Energy - Battery Charge Last 7 Days | Energy Counter | energy | Wh | total_increasing | 2 | ✓ |  | FALSE | Battery charge energy - Last 7 Days | VSN700-only
E5_runtime | N/A | E5_runtime | e5_lifetime | Energy - Battery Charge Since Restart | Energy Counter | energy | Wh | total_increasing | 2 | ✓ |  | FALSE | Battery charge energy - Since Restart | VSN700-only
E6_30D | N/A | E6_30D | e6_last_month | Energy - House from Inverter Last 30 Days | Energy Counter | energy | Wh | total | 2 | ✓ | ✓ | FALSE | House consumption from inverter - Last 30 Days | VSN700-only
E6_7D | N/A | E6_7D | e6_last_week | Energy - House from Inverter Last 7 Days | Energy Counter | energy | Wh | total | 2 | ✓ | ✓ | FALSE | House consumption from inverter - Last 7 Days | VSN700-only
E6_runtime | N/A | E6_runtime | e6_lifetime | Energy - House from Inverter Since Restart | Energy Counter | energy | Wh | total_increasing | 2 | ✓ | ✓ | FALSE | House consumption from inverter - Since Restart | VSN700-only
E6_total | N/A | E6_total | e6_total | Energy - House from Inverter Lifetime | Energy Counter | energy | Wh | total_increasing | 2 |  | ✓ | FALSE | House consumption from inverter - Lifetime | VSN700-only
E7_30D | N/A | E7_30D | e7_last_month | Energy - House Consumption Last 30 Days | Energy Counter | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Total house consumption - Last 30 Days | VSN700-only
E7_7D | N/A | E7_7D | e7_last_week | Energy - House Consumption Last 7 Days | Energy Counter | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Total house consumption - Last 7 Days | VSN700-only
E7_runtime | N/A | E7_runtime | e7_lifetime | Energy - House Consumption Since Restart | Energy Counter | energy | Wh | total_increasing | 2 | ✓ | ✓ | FALSE | Total house consumption - Since Restart | VSN700-only
E7_total | N/A | E7_total | e7_total | Energy - House Consumption Lifetime | Energy Counter | energy | Wh | total_increasing | 2 |  | ✓ | FALSE | Total house consumption - Lifetime | VSN700-only
E8_30D | N/A | E8_30D | e8_last_month | Energy AC - Grid Import Last 30 Days | Energy Counter | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Energy imported from grid - Last 30 Days | VSN700-only
E8_7D | N/A | E8_7D | e8_last_week | Energy AC - Grid Import Last 7 Days | Energy Counter | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Energy imported from grid - Last 7 Days | VSN700-only
E8_runtime | N/A | E8_runtime | e8_lifetime | Energy AC - Grid Import Since Restart | Energy Counter | energy | Wh | total_increasing | 2 | ✓ | ✓ | FALSE | Energy imported from grid - Since Restart | VSN700-only
Ein | N/A | Ein | ein | Energy DC - PV Input Lifetime | Energy Counter | energy | kWh | total_increasing | 2 | ✓ | ✓ | FALSE | Inverter PV energy (DC input) - Lifetime | VSN700-only
Ein_30D | N/A | Ein_30D | ein_last_month | Energy DC - PV Input Last 30 Days | Energy Counter | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Inverter PV energy (DC input) - Last 30 Days | VSN700-only
Ein_7D | N/A | Ein_7D | ein_last_week | Energy DC - PV Input Last 7 Days | Energy Counter | energy | Wh | total | 2 | ✓ | ✓ | FALSE | Inverter PV energy (DC input) - Last 7 Days | VSN700-only
Ein_runtime | N/A | Ein_runtime | ein_lifetime | Energy DC - PV Input Since Restart | Energy Counter | energy | Wh | total_increasing | 2 | ✓ | ✓ | FALSE | Inverter PV energy (DC input) - Since Restart | VSN700-only
Ein1 | N/A | Ein1 | ein1 | DC energy (String 1) - Lifetime | Energy Counter | energy | Wh | total_increasing | 2 | ✓ |  | FALSE | DC energy (String 1) - Lifetime | VSN700-only
Ein2 | N/A | Ein2 | ein2 | DC energy (String 2) - Lifetime | Energy Counter | energy | Wh | total_increasing | 2 | ✓ |  | FALSE | DC energy (String 2) - Lifetime | VSN700-only
EnergyPolicy | N/A | EnergyPolicy | energy_policy | Energy Policy | Energy Counter |  |  |  | 0 | ✓ |  | FALSE | Energy Policy | VSN700-only
Fan1rpm | N/A | Fan1rpm | fan1rpm | Speed - Fan 1 | Datalogger |  | RPM | measurement | 0 | ✓ |  | FALSE | Cooling fan 1 speed in RPM | VSN700-only
Fan2rpm | N/A | Fan2rpm | fan2rpm | Speed - Fan 2 | Datalogger |  | RPM | measurement | 0 | ✓ |  | FALSE | Cooling fan 2 speed in RPM | VSN700-only
Fcc | N/A | Fcc | fcc | Central controller frequency | Datalogger | frequency | Hz | measurement | 2 | ✓ |  | FALSE | Central controller frequency | VSN700-only
N/A | device_1_fwVer | device_1_fwVer | firmware_version | Firmware Version | Device Info |  |  |  | 0 |  |  | FALSE | Firmware version | VSN300-only
N/A | device_2_fwVer | device_2_fwVer | firmware_version | Firmware Version | Device Info |  |  |  | 0 |  |  | FALSE | Firmware version | VSN300-only
N/A | fw_ver | fw_ver | firmware_version | Version | Datalogger |  |  |  | 0 | ✓ | ✓ | FALSE | Version | VSN300-only
N/A | flash_free | flash_free | flash_memory_free | Available flash storage | System Monitoring | data_size | MB | measurement | 0 | ✓ | ✓ | FALSE | Available flash storage | VSN300-only
N/A | free_ram | free_ram | free_ram | Available RAM | System Monitoring | data_size | MB | measurement | 0 | ✓ | ✓ | FALSE | Available RAM | VSN300-only
FRT_state | N/A | FRT_state | frt_state | Fault Ride Through (FRT) status | Status |  |  |  | 0 | ✓ |  | FALSE | Fault Ride Through (FRT) status | VSN700-only
N/A | fw_build_date | fw_build_date | fw_build_date | Firmware Build Date | Device Info |  |  |  | 0 |  |  | FALSE | Firmware build date and time | VSN300-only
N/A | fw_build_number | fw_build_number | fw_build_number | Firmware Build Hash | Device Info |  |  |  | 0 |  |  | FALSE | Firmware build commit hash | VSN300-only
N/A | fw_release_number | fw_release_number | fw_release_number | Firmware Version | Device Info |  |  |  | 0 |  |  | FALSE | Firmware release version number | VSN300-only
N/A | fw_revision | fw_revision | fw_revision | Firmware Revision | Device Info |  |  |  | 0 |  |  | FALSE | Firmware revision identifier | VSN300-only
N/A | device_0_fwVer | device_0_fwVer | fw_version | Fw Version | Device Info |  |  |  | 0 |  |  | FALSE | Firmware version | VSN300-only
GlobState | N/A | GlobState | glob_state | Global operational state | Status |  |  |  | 0 | ✓ |  | FALSE | Global operational state | VSN700-only
N/A | m64061_1_GlobalSt | GlobalSt | global_st | Global Status | Inverter |  |  |  | 0 | ✓ |  | TRUE | Global inverter status | M64061
gridExtCtrlEna | N/A | gridExtCtrlEna | grid_ext_ctrl_ena | Grid External Control Enabled | Datalogger |  |  |  | 0 | ✓ |  | FALSE | External grid control enabled status | VSN700-only
gridExtCtrlState | N/A | gridExtCtrlState | grid_ext_ctrl_state | Grid External Control State | Status |  |  |  | 0 | ✓ |  | FALSE | External grid control current state | VSN700-only
HouseIgrid_L1 | N/A | HouseIgrid_L1 | house_igrid_l1 | Current AC - House Phase A | System | current | A | measurement | 2 | ✓ |  | FALSE | House Current Phase A | ABB Proprietary
HouseIgrid_L2 | N/A | HouseIgrid_L2 | house_igrid_l2 | Current AC - House Phase B | System | current | A | measurement | 2 | ✓ |  | FALSE | House Current Phase B | ABB Proprietary
HouseIgrid_L3 | N/A | HouseIgrid_L3 | house_igrid_l3 | Current AC - House Phase C | System | current | A | measurement | 2 | ✓ |  | FALSE | House Current Phase C | ABB Proprietary
HousePInverter | N/A | HousePInverter | house_p_inverter | Power - Home PV | House Meter | power | W | measurement | 0 | ✓ | ✓ | FALSE | Home PV Power | VSN700-only
HousePgrid_L1 | N/A | HousePgrid_L1 | house_pgrid_l1 | Power AC - House Phase A | System | power | W | measurement | 0 | ✓ |  | FALSE | House Power Phase A | ABB Proprietary
HousePgrid_L2 | N/A | HousePgrid_L2 | house_pgrid_l2 | Power AC - House Phase B | System | power | W | measurement | 0 | ✓ |  | FALSE | House Power Phase B | ABB Proprietary
HousePgrid_L3 | N/A | HousePgrid_L3 | house_pgrid_l3 | Power AC - House Phase C | System | power | W | measurement | 0 | ✓ |  | FALSE | House Power Phase C | ABB Proprietary
HousePgrid_Tot | N/A | HousePgrid_Tot | house_pgrid_tot | Power AC - House Load Total | House Meter | power | W | measurement | 0 | ✓ | ✓ | FALSE | House load active power - Total | VSN700-only
Fgrid | m103_1_Hz | Hz | hz | Frequency AC - Grid | Inverter | frequency | Hz | measurement | 2 | ✓ |  | TRUE | Grid frequency | M103
N/A | m103_1_HzA | HzA | hz_a | Frequency AC - Phase A | Inverter | frequency | Hz | measurement | 2 | ✓ |  | TRUE | AC Frequency Phase A | M103
N/A | m103_1_HzB | HzB | hz_b | Frequency AC - Phase B | Inverter | frequency | Hz | measurement | 2 | ✓ |  | TRUE | AC Frequency Phase B | M103
N/A | m103_1_HzC | HzC | hz_c | Frequency AC - Phase C | Inverter | frequency | Hz | measurement | 2 | ✓ |  | TRUE | AC Frequency Phase C | M103
N/A | m64061_1_ILeakDcAc | ILeakDcAc | i_leak_dc_ac | Current DC - Leakage DC-AC | Inverter | current | mA | measurement | 2 | ✓ | ✓ | TRUE | DC-to-AC ground leakage current | M64061
N/A | m64061_1_ILeakDcDc | ILeakDcDc | i_leak_dc_dc | Current DC - Leakage DC-DC | Inverter | current | mA | measurement | 2 | ✓ | ✓ | TRUE | DC-to-DC ground leakage current | M64061
Iba | N/A | Iba | iba | Current - Battery | Datalogger | current | A | measurement | 2 | ✓ |  | FALSE | Battery DC current flow | VSN700-only
Iin1 | N/A | Iin1 | iin1 | Current DC - String 1 | Datalogger | current | A | measurement | 2 | ✓ |  | FALSE | DC Current (String 1) | VSN700-only
Iin2 | N/A | Iin2 | iin2 | Current DC - String 2 | Datalogger | current | A | measurement | 2 | ✓ |  | FALSE | DC Current (String 2) | VSN700-only
IleakDC | N/A | IleakDC | ileak_d_c | Current DC - Leakage | Datalogger | current | A | measurement | 2 | ✓ |  | FALSE | DC side ground fault leakage current | VSN700-only
IleakInv | N/A | IleakInv | ileak_inv | Current - Inverter Leakage | Datalogger | current | A | measurement | 2 | ✓ |  | FALSE | Inverter ground fault leakage current | VSN700-only
InputMode | N/A | InputMode | input_mode | Input Mode | System Monitoring |  |  |  | 0 | ✓ |  | FALSE | Input Mode | VSN700-only
InvState | N/A | InvState | inv_state | Inverter State | Status |  |  |  | 0 | ✓ |  | FALSE | Current operational state of inverter | VSN700-only
N/A | device_invID | device_invID | inverter_id | Inverter ID | Device Info |  |  |  | 0 |  |  | FALSE | Inverter ID | VSN300-only
N/A | device_ACType | device_ACType | inverter_id | Inverter ID | Device Info |  |  |  | 0 |  |  | FALSE | Inverter ID | VSN300-only
N/A | m64061_1_InverterSt | InverterSt | inverter_st | Inverter Status | Inverter |  |  |  | 0 | ✓ |  | TRUE | Inverter status | M64061
N/A | device_startup_time | device_startup_time | inverter_time | Inverter Time | Device Info |  |  |  | 0 |  |  | FALSE | Inverter Time | VSN300-only
N/A | m64061_1_Isolation_Ohm1 | Isolation_Ohm1 | isolation_ohm1 | Resistance - Insulation | Inverter |  | MΩ | measurement | 0 | ✓ | ✓ | TRUE | DC insulation resistance to ground | M64061
N/A | logger_board_model | logger_board_model | logger_board_model | Logger Board Model | Datalogger |  |  |  | 0 |  |  | FALSE | Logger Board Model | VSN300-only
N/A | logger_hostname | logger_hostname | logger_hostname | Logger Hostname | Datalogger |  |  |  | 0 |  |  | FALSE | Logger Hostname | VSN300-only
logger_loggerId | N/A | logger_loggerId | logger_logger_id | Logger ID | Datalogger |  |  |  | 0 |  |  | FALSE | Logger ID | VSN700-only
N/A | logger_sn | logger_sn | logger_sn | Logger Serial Number | Datalogger |  |  |  | 0 |  |  | FALSE | Logger serial number | VSN300-only
m126Mod_Ena | N/A | m126Mod_Ena | m126_mod_ena | Model 126 Enabled | Datalogger |  |  |  | 0 | ✓ |  | FALSE | SunSpec Model 126 module enabled | VSN700-only
m132Mod_Ena | N/A | m132Mod_Ena | m132_mod_ena | Model 132 Enabled | Datalogger |  |  |  | 0 | ✓ |  | FALSE | SunSpec Model 132 module enabled | VSN700-only
C_Mn | C_Mn | Mn | manufacturer | Manufacturer name | Inverter |  |  |  | 0 |  |  | TRUE | Manufacturer name | M1
MeterFgrid | N/A | MeterFgrid | meter_fgrid | Frequency AC - Meter | Datalogger | frequency | Hz | measurement | 2 | ✓ |  | FALSE | Meter AC frequency | VSN700-only
MeterIgrid_L1 | N/A | MeterIgrid_L1 | meter_igrid_l1 | Current AC - Meter Phase A | Datalogger | current | A | measurement | 2 | ✓ |  | FALSE | Meter Current Phase A | VSN700-only
MeterIgrid_L2 | N/A | MeterIgrid_L2 | meter_igrid_l2 | Current AC - Meter Phase B | Datalogger | current | A | measurement | 2 | ✓ |  | FALSE | Meter Current Phase B | VSN700-only
MeterIgrid_L3 | N/A | MeterIgrid_L3 | meter_igrid_l3 | Current AC - Meter Phase C | Datalogger | current | A | measurement | 2 | ✓ |  | FALSE | Meter Current Phase C | VSN700-only
MeterPgrid_L1 | N/A | MeterPgrid_L1 | meter_pgrid_l1 | Power AC - Meter Phase A | Datalogger | power | W | measurement | 0 | ✓ |  | FALSE | Meter Power Phase A | VSN700-only
MeterPgrid_L2 | N/A | MeterPgrid_L2 | meter_pgrid_l2 | Power AC - Meter Phase B | Datalogger | power | W | measurement | 0 | ✓ |  | FALSE | Meter Power Phase B | VSN700-only
MeterPgrid_L3 | N/A | MeterPgrid_L3 | meter_pgrid_l3 | Power AC - Meter Phase C | Datalogger | power | W | measurement | 0 | ✓ |  | FALSE | Meter Power Phase C | VSN700-only
MeterPgrid_Tot | N/A | MeterPgrid_Tot | meter_pgrid_tot | Power AC - Meter Total | Datalogger | power | W | measurement | 0 | ✓ | ✓ | FALSE | Meter active power - Total | VSN700-only
MeterQgrid_L1 | N/A | MeterQgrid_L1 | meter_qgrid_l1 | Reactive Power AC - Meter Phase A | Datalogger | reactive_power | var | measurement | 0 | ✓ |  | FALSE | Meter Reactive Power Phase A | VSN700-only
MeterQgrid_L2 | N/A | MeterQgrid_L2 | meter_qgrid_l2 | Reactive Power AC - Meter Phase B | Datalogger | reactive_power | var | measurement | 0 | ✓ |  | FALSE | Meter Reactive Power Phase B | VSN700-only
MeterQgrid_L3 | N/A | MeterQgrid_L3 | meter_qgrid_l3 | Reactive Power AC - Meter Phase C | Datalogger | reactive_power | var | measurement | 0 | ✓ |  | FALSE | Meter Reactive Power Phase C | VSN700-only
MeterQgrid_Tot | N/A | MeterQgrid_Tot | meter_qgrid_tot | Reactive Power AC - Meter Total | Datalogger | reactive_power | var | measurement | 0 | ✓ |  | FALSE | Meter reactive power - Total | VSN700-only
MeterVgrid_L1 | N/A | MeterVgrid_L1 | meter_vgrid_l1 | Voltage AC - Meter Phase A | Datalogger | voltage | V | measurement | 1 | ✓ |  | FALSE | Meter Voltage Phase A | VSN700-only
MeterVgrid_L2 | N/A | MeterVgrid_L2 | meter_vgrid_l2 | Voltage AC - Meter Phase B | Datalogger | voltage | V | measurement | 1 | ✓ |  | FALSE | Meter Voltage Phase B | VSN700-only
MeterVgrid_L3 | N/A | MeterVgrid_L3 | meter_vgrid_l3 | Voltage AC - Meter Phase C | Datalogger | voltage | V | measurement | 1 | ✓ |  | FALSE | Meter Voltage Phase C | VSN700-only
N/A | mfg_part_number | mfg_part_number | mfg_part_number | Part Number | Device Info |  |  |  | 0 |  |  | FALSE | Manufacturing part number | VSN300-only
N/A | mfg_serial_number | mfg_serial_number | mfg_serial_number | Serial Number | Device Info |  |  |  | 0 |  |  | FALSE | Manufacturing serial number | VSN300-only
N/A | mfg_week_year | mfg_week_year | mfg_week_year | Manufacturing Week/Year | Device Info |  |  |  | 0 |  |  | FALSE | Manufacturing week and year (WWYY) | VSN300-only
C_Md | C_Md | Md | model | Model identifier | Inverter |  |  |  | 0 |  |  | TRUE | Model identifier | M1
N/A | device_modelDesc | device_modelDesc | model_description | Model Description | Device Info |  |  |  | 0 |  |  | FALSE | Model Description | VSN300-only
N/A | device_model | device_model | model_type | Model Type | Device Info |  |  |  | 0 |  |  | FALSE | Model Type | VSN300-only
N/A | m64061_1_MonthWH | MonthWH | month_wh | Energy - Last 30 Days | Energy Counter | energy | Wh | total | 2 | ✓ | ✓ | TRUE | Energy - Month | M64061
NumOfMPPT | N/A | NumOfMPPT | num_of_mppt | Count - MPPT Channels | Inverter |  | channels | measurement | 0 | ✓ |  | FALSE | Number of MPPT DC input channels | VSN700-only
C_Opt | C_Opt | Opt | options | Configuration options | Inverter |  |  |  | 0 |  |  | TRUE | Configuration options | M1
N/A | m103_1_TmpOt | TmpOt | other_temperature | Temperature - Other | Inverter | temperature | °C | measurement | 1 | ✓ | ✓ | TRUE | Other Temperature | M103
PCh | N/A | PCh | p_ch | Power - Battery Charge | Datalogger | power | W | measurement | 0 | ✓ |  | FALSE | Battery charging power | VSN700-only
PDh | N/A | PDh | p_dh | Power - Battery Discharge | Datalogger | power | W | measurement | 0 | ✓ |  | FALSE | Battery discharging power | VSN700-only
PACDeratingFlags | N/A | PACDeratingFlags | pac_derating_flags | AC Power Derating Flags | Datalogger |  |  |  | 0 | ✓ |  | FALSE | AC power derating active condition flags | VSN700-only
PacStandAlone | N/A | PacStandAlone | pac_stand_alone | Power AC - Stand Alone Mode | Datalogger | power | W | measurement | 0 | ✓ |  | FALSE | AC power in stand-alone (off-grid) mode | VSN700-only
PacTogrid | N/A | PacTogrid | pac_togrid | Power AC - Export to Grid | Datalogger | power | W | measurement | 0 | ✓ |  | FALSE | AC power exported to grid | VSN700-only
Pba | N/A | Pba | pba | Power - Battery Total | Datalogger | power | W | measurement | 0 | ✓ |  | FALSE | Battery charge/discharge power | VSN700-only
PbaT | N/A | PbaT | pba_t | Power - Battery Total | Datalogger | power | W | measurement | 0 | ✓ | ✓ | FALSE | Battery power - Total | VSN700-only
N/A | m103_1_PF | PF | pf | Power Factor | Inverter | power_factor |  | measurement | 0 | ✓ | ✓ | TRUE | Power factor | M103
N/A | m103_1_PhVphAB | PhVphAB | ph_vph_a_b | Voltage AC - Phase A-B | Inverter | voltage | V | measurement | 1 | ✓ | ✓ | TRUE | AC Voltage Phase A-B | M103
N/A | m103_1_PhVphBC | PhVphBC | ph_vph_b_c | Voltage AC - Phase B-C | Inverter | voltage | V | measurement | 1 | ✓ | ✓ | TRUE | AC Voltage Phase B-C | M103
N/A | m103_1_PhVphCA | PhVphCA | ph_vph_c_a | Voltage AC - Phase C-A | Inverter | voltage | V | measurement | 1 | ✓ | ✓ | TRUE | AC Voltage Phase C-A | M103
Vgrid | m103_1_PhVphA | PhVphA | phase_voltage_an | Voltage AC - Phase A-N | Inverter | voltage | V | measurement | 1 | ✓ |  | TRUE | AC Voltage Phase A-N | M103
N/A | m103_1_PhVphB | PhVphB | phase_voltage_bn | Voltage AC - Phase B-N | Inverter | voltage | V | measurement | 1 | ✓ | ✓ | TRUE | Phase Voltage BN | M103
N/A | m103_1_PhVphC | PhVphC | phase_voltage_cn | Voltage AC - Phase C-N | Inverter | voltage | V | measurement | 1 | ✓ | ✓ | TRUE | Phase Voltage CN | M103
Pin | N/A | Pin | pin | Power DC - Input Total | Datalogger | power | W | measurement | 0 | ✓ | ✓ | FALSE | Total DC Input Power | VSN700-only
Pin1 | N/A | Pin1 | pin1 | Power DC - String 1 | Datalogger | power | W | measurement | 0 | ✓ | ✓ | FALSE | DC Input Power (String 1) | VSN700-only
Pin2 | N/A | Pin2 | pin2 | Power DC - String 2 | Datalogger | power | W | measurement | 0 | ✓ | ✓ | FALSE | DC Input Power (String 2) | VSN700-only
N/A | pn | pn | pn | Product number | Datalogger |  |  |  | 0 | ✓ |  | FALSE | Product number | VSN300-only
N/A | m103_1_PowerPeakAbs | PowerPeakAbs | power_peak_abs | Power - Peak Lifetime | Inverter | power | W | measurement | 0 | ✓ | ✓ | TRUE | Peak Output Power - Lifetime | M103
N/A | m103_1_PowerPeakToday | PowerPeakToday | power_peak_today | Power - Peak Today | Inverter | power | W | measurement | 0 | ✓ | ✓ | TRUE | Peak Output Power - Today | M103
Ppeak | N/A | Ppeak | ppeak | Power - Peak | Datalogger | power | W | measurement | 0 | ✓ |  | FALSE | Maximum instantaneous power | VSN700-only
QACDeratingFlags | N/A | QACDeratingFlags | qac_derating_flags | Reactive Power Derating | Datalogger |  |  |  | 0 | ✓ |  | FALSE | Reactive power AC derating flags | VSN700-only
Riso | N/A | Riso | riso | Resistance - Insulation | Datalogger |  |  |  | 0 | ✓ |  | FALSE | DC insulation resistance to ground | VSN700-only
SACDeratingFlags | N/A | SACDeratingFlags | sac_derating_flags | Apparent Power Derating | Datalogger |  |  |  | 0 | ✓ |  | FALSE | Apparent power AC derating flags | VSN700-only
C_SN | C_SN | SN | serial_number | Serial number | Inverter |  |  |  | 0 |  |  | TRUE | Serial number | M1
ShU | N/A | ShU | sh_u | Voltage - Shunt | Datalogger | voltage | V | measurement | 1 | ✓ |  | FALSE | Current shunt voltage | VSN700-only
N/A | sn | sn | sn | Serial number | Datalogger |  |  |  | 0 | ✓ |  | FALSE | Serial number | VSN300-only
SplitPhase | N/A | SplitPhase | split_phase | Split-phase configuration flag | System |  |  |  | 0 | ✓ |  | FALSE | Split-phase configuration flag | ABB Proprietary
Soc | N/A | Soc | state_of_charge | State of Charge | System | battery | % | measurement | 0 | ✓ |  | FALSE | State of Charge | ABB Proprietary
Soh | N/A | Soh | state_of_health | State of Health | System | battery | % | measurement | 0 | ✓ |  | FALSE | State of Health | ABB Proprietary
N/A | store_size | store_size | storage_size | Flash storage used | Datalogger | data_size | MB | measurement | 0 | ✓ | ✓ | FALSE | Flash storage used | VSN300-only
SysTime | m64061_1_SysTime | SysTime | sys_time | System Time | System | timestamp |  |  | 0 | ✓ |  | FALSE | Inverter system timestamp | M64061, ABB Proprietary
N/A | sys_load | sys_load | system_load | System load average | System Monitoring |  |  |  | 0 | ✓ | ✓ | FALSE | System load average | VSN300-only
N/A | uptime | uptime | system_uptime | System Uptime | System Monitoring | duration | s | total_increasing | 0 | ✓ | ✓ | FALSE | System Uptime | VSN300-only
TSoc | N/A | TSoc | t_soc | Battery State of Charge | Battery | battery | % | measurement | 0 | ✓ |  | FALSE | Battery state of charge percentage | VSN700-only
Tba | N/A | Tba | tba | Temperature - Battery | Datalogger | temperature | °C | measurement | 1 | ✓ |  | FALSE | Battery pack temperature | VSN700-only
TcMax | N/A | TcMax | tc_max | Temperature - Cabinet Max | Datalogger | temperature | °C | measurement | 1 | ✓ |  | FALSE | Maximum cabinet temperature recorded | VSN700-only
TcMin | N/A | TcMin | tc_min | Temperature - Cabinet Min | Datalogger | temperature | °C | measurement | 1 | ✓ |  | FALSE | Minimum cabinet temperature recorded | VSN700-only
TempBst | N/A | TempBst | temp_bst | Temperature - Booster | Datalogger | temperature | °C | measurement | 1 | ✓ |  | FALSE | DC-DC boost converter temperature | VSN700-only
TempInv | N/A | TempInv | temp_inv | Temperature - Inverter | Datalogger | temperature | °C | measurement | 1 | ✓ |  | FALSE | Inverter internal temperature | VSN700-only
Temp1 | N/A | Temp1 | temp1 | Temperature - Sensor 1 | Datalogger | temperature | °C | measurement | 1 | ✓ | ✓ | FALSE | Additional temperature sensor 1 | VSN700-only
N/A | type | type | type | Type | Datalogger |  |  |  | 0 | ✓ |  | FALSE | Type | VSN300-only
VBulk | m64061_1_VBulk | VBulk | v_bulk | Voltage DC - Bulk Capacitor | Inverter | voltage | V | measurement | 1 | ✓ | ✓ | TRUE | DC Voltage (Bulk Capacitor) | M64061
VBulkMid | m64061_1_VBulkMid | VBulkMid | v_bulk_mid | Voltage DC - Bus Midpoint | Inverter | voltage | V | measurement | 1 | ✓ | ✓ | TRUE | DC bus bulk capacitor midpoint voltage | M64061
N/A | m64061_1_VGnd | VGnd | v_gnd | Voltage - Ground | Inverter | voltage | V | measurement | 1 | ✓ | ✓ | TRUE | Voltage to ground reference | M64061
Qgrid | N/A | VAr | var | Reactive Power - Grid Connection | Inverter | reactive_power | var | measurement | 0 | ✓ | ✓ | TRUE | Reactive power at grid connection point | M103
Vba | N/A | Vba | vba | Voltage - Battery | Datalogger | voltage | V | measurement | 1 | ✓ |  | FALSE | Battery pack voltage | VSN700-only
VcMax | N/A | VcMax | vc_max | Voltage - Battery Cell Max | Datalogger | voltage | V | measurement | 1 | ✓ |  | FALSE | Maximum voltage across battery cells | VSN700-only
VcMin | N/A | VcMin | vc_min | Voltage - Battery Cell Min | Datalogger | voltage | V | measurement | 1 | ✓ |  | FALSE | Minimum voltage across battery cells | VSN700-only
C_Vr | C_Vr | Vr | version | Firmware version | Inverter |  |  |  | 0 |  |  | TRUE | Firmware version | M1
Vgnd | N/A | Vgnd | vgnd | Voltage - Ground | Datalogger | voltage | V | measurement | 1 | ✓ |  | FALSE | Voltage to ground reference | VSN700-only
VgridL1_N | N/A | VgridL1_N | vgrid_l1_n | Voltage AC - Phase A-N | Datalogger | voltage | V | measurement | 1 | ✓ |  | FALSE | AC Voltage Phase A-N | VSN700-only
VgridL2_N | N/A | VgridL2_N | vgrid_l2_n | Voltage AC - Phase B-N | Datalogger | voltage | V | measurement | 1 | ✓ |  | FALSE | AC Voltage Phase B-N | VSN700-only
Vin1 | N/A | Vin1 | vin1 | Voltage DC - Input 1 | Datalogger | voltage | V | measurement | 1 | ✓ |  | FALSE | DC string 1 input voltage | VSN700-only
Vin2 | N/A | Vin2 | vin2 | Voltage DC - Input 2 | Datalogger | voltage | V | measurement | 1 | ✓ |  | FALSE | DC string 2 input voltage | VSN700-only
WRtg | N/A | WRtg | w_rtg | Power - Rating | Datalogger | power | W | measurement | 0 | ✓ |  | FALSE | Inverter rated power capacity | VSN700-only
WarningFlags | N/A | WarningFlags | warning_flags | Warning Flags | Datalogger |  |  |  | 0 | ✓ |  | FALSE | Active warning condition flags | VSN700-only
N/A | m103_1_WH | WH | watthours | Energy AC - Lifetime | Energy Counter | energy | kWh | total_increasing | 2 | ✓ | ✓ | TRUE | AC Energy | M103
Pgrid | m103_1_W | W | watts | Power AC | Inverter | power | W | measurement | 0 | ✓ | ✓ | TRUE | AC Power | M103
N/A | m64061_1_WeekWH | WeekWH | week_wh | Energy - Last 7 Days | Energy Counter | energy | Wh | total | 2 | ✓ | ✓ | TRUE | Energy - Week | M64061
N/A | wlan_0_broadcast | wlan_0_broadcast | wlan_0_broadcast | WiFi Broadcast | Network |  |  |  | 0 |  |  | FALSE | WiFi broadcast address | VSN300-only
N/A | wlan_0_dhcpState | wlan_0_dhcpState | wlan_0_dhcp_state | WiFi DHCP State | Network |  |  |  | 0 |  |  | FALSE | WiFi DHCP state (acquired/pending) | VSN300-only
N/A | wlan_0_dns | wlan_0_dns | wlan_0_dns | WiFi DNS Server | Network |  |  |  | 0 |  |  | FALSE | WiFi DNS server address | VSN300-only
N/A | wlan_0_gateway | wlan_0_gateway | wlan_0_gateway | WiFi Gateway | Network |  |  |  | 0 |  |  | FALSE | WiFi gateway IP address | VSN300-only
N/A | wlan_0_ipaddr | wlan_0_ipaddr | wlan_0_ipaddr | WiFi IP Address | Network |  |  |  | 0 |  |  | FALSE | WiFi IPv4 address | VSN300-only
N/A | wlan_0_netmask | wlan_0_netmask | wlan_0_netmask | WiFi Netmask | Network |  |  |  | 0 |  |  | FALSE | WiFi network subnet mask | VSN300-only
N/A | wlan_0_status | wlan_0_status | wlan_0_status | WiFi Status | Network |  |  |  | 0 |  |  | FALSE | WiFi connection status | VSN300-only
N/A | wlan_ap_status | wlan_ap_status | wlan_ap_status | WiFi AP Status | Network |  |  |  | 0 |  |  | FALSE | WiFi access point mode status | VSN300-only
N/A | wlan_fsm_status | wlan_fsm_status | wlan_fsm_status | WiFi FSM Status | Network |  |  |  | 0 |  |  | FALSE | WiFi finite state machine status | VSN300-only
N/A | wlan0_essid | wlan0_essid | wlan0_essid | WiFi SSID | System Monitoring |  |  |  | 0 | ✓ |  | FALSE | WiFi network name (SSID) | VSN300-only
N/A | wlan0_ipaddr_local | wlan0_ipaddr_local | wlan0_ipaddr_local | WiFi Local IP | System Monitoring |  |  |  | 0 | ✓ |  | FALSE | WiFi local IP address | VSN300-only
N/A | wlan0_link_quality | wlan0_link_quality | wlan0_link_quality | WiFi link quality percentage | System Monitoring |  | % | measurement | 0 | ✓ |  | FALSE | WiFi link quality percentage | VSN300-only
N/A | wlan0_mode | wlan0_mode | wlan0_mode | WiFi Mode | System Monitoring |  |  |  | 0 | ✓ |  | FALSE | WiFi operating mode (client/AP) | VSN300-only
N/A | m64061_1_YearWH | YearWH | year_wh | Energy - Last Year | Energy Counter | energy | Wh | total | 2 | ✓ | ✓ | TRUE | Energy - Year | M64061

## Summary Statistics
Mapping Summary Statistics
Total Entries | 258
With Device Class | 166 | 64.3%
With Unit | 169 | 65.5%
With State Class | 171 | 66.3%
With Precision | 258 | 100.0%
Device Class Breakdown
Device Class | Count
(none) | 92
energy | 65
power | 26
voltage | 23
current | 19
temperature | 9
frequency | 6
reactive_power | 5
battery | 3
data_size | 3
apparent_power | 3
power_factor | 2
timestamp | 1
duration | 1
Category Breakdown
Category | Count
Datalogger | 70
Energy Counter | 53
Inverter | 46
Device Info | 22
Battery | 18
System | 14
Status | 13
System Monitoring | 11
Network | 9
House Meter | 2